## Summary
Stable Isotope Facility Data Report
Principal Investigator: |  | Thomas Kelly | Email: | tbkelly@alaska.edu
Researcher: |  |  | Email:
Institution: |  | University of Alaska Fairbanks
Project: |  | KT99, NSR2, KT98, JT05 (SIF Order P122788)
Submission Date: |  | 2023-03-08
Completion Date: |  | 2023-07-31
Report Date: |  | 2023-09-01
Analysis: |  | 13C & 15N Analysis of Natural Abundance Solid Samples
|  |  | δ13C |  | δ15N
Mean SD for reference materials replicates in this project: |  |  | ±0.03 ‰ |  | ±0.04 ‰
Mean absolute accuracy for calibrated reference materials within: |  |  | ±0.05 ‰ |  | ±0.06 ‰
Notes: | Original order requested natural abundance analysis. Samples contained 15N enrichment that exceeded our natural abundance range. N=3 samples had instrument error. Replacements can be submitted for reanalysis at no additional charge.
Sample count to be charged: |  | 192 Difficult combustion analysis
Additional charges:
Reported by: |  | Emily Ngo Schick
ekngo@ucdavis.edu
Please review your data in a timely fashion, so that we may fully address any questions or concerns.

## Samples
Sample ID | 13C (at-%) | δ13CVPDB (‰) | Total C (µg) | C Comment | 15N (at-%) | δ15NAir (‰) | Total N (µg) | N Comment | Tray Name | Well Id | Type of Material | Analysis | Sample Weight (mg) from Sample List | Internal ID | Analysis Number | Mass Spec
KT99-A1 | 1.0854 | -18.4469 | 741.9696 |  | 0.36888 | 7.0986 | 99.94 |  | KT99 | A1 | Filtered seawater | 13C, 15N |  | 2006474 | 527006 | D
KT99-A2 | 1.0815 | -21.9992 | 70.9638 | Contained less carbon than smallest reference in run | 0.36593 | -0.99413 | 2.7488 | Contained less nitrogen than smallest reference | KT99 | A2 | Filtered seawater | 13C, 15N |  | 2006475 | 527007 | D
KT99-A3 | 1.0836 | -20.1049 | 247.4739 |  | 0.36909 | 7.6664 | 27.8765 |  | KT99 | A3 | Filtered seawater | 13C, 15N |  | 2006476 | 527008 | D
KT99-A4 | 1.0844 | -19.4155 | 847.7876 |  | 0.36908 | 7.6359 | 125.5824 |  | KT99 | A4 | Filtered seawater | 13C, 15N |  | 2006477 | 527009 | D
KT99-A5 | 1.0824 | -21.2215 | 282.3593 |  | 0.36913 | 7.7765 | 32.2538 |  | KT99 | A5 | Filtered seawater | 13C, 15N |  | 2006478 | 527010 | D
KT99-A6 | 1.0838 | -19.9364 | 528.1309 |  | 0.36918 | 7.9009 | 94.8214 |  | KT99 | A6 | Filtered seawater | 13C, 15N |  | 2006479 | 527011 | D
KT99-A7 | 1.0797 | -23.6625 | 86.3615 | Precision decreases for samples containing less than 100ugC | 0.37012 | 10.4814 | 3.4393 | Contained less nitrogen than smallest reference | KT99 | A7 | Filtered seawater | 13C, 15N |  | 2006480 | 527012 | D
KT99-A8 | 1.0775 | -25.7154 | 79.7593 | Precision decreases for samples containing less than 100ugC | 0.3681 | 4.9433 | 10.982 | Precision decreases for samples containing less than 20ugN | KT99 | A8 | Filtered seawater | 13C, 15N |  | 2006481 | 527013 | D
KT99-B1 | 1.0803 | -23.1573 | 178.0221 |  | 0.36899 | 7.3844 | 21.0931 |  | KT99 | B1 | Filtered seawater | 13C, 15N |  | 2006482 | 527014 | D
KT99-B2 | 1.0798 | -23.5573 | 176.3737 |  | 0.36868 | 6.53 | 21.9288 |  | KT99 | B2 | Filtered seawater | 13C, 15N |  | 2006483 | 527015 | D
KT99-B3 | 1.0807 | -22.8108 | 251.7396 |  | 0.36934 | 8.3584 | 48.15 |  | KT99 | B3 | Filtered seawater | 13C, 15N |  | 2006484 | 527016 | D
KT99-B4 | 1.0789 | -24.3786 | 99.9405 | Precision decreases for samples containing less than 100ugC | 0.36879 | 6.842 | 11.7531 | Precision decreases for samples containing less than 20ugN | KT99 | B4 | Filtered seawater | 13C, 15N |  | 2006485 | 527017 | D
KT99-B5 | 1.0778 | -25.4113 | 71.5859 | Contained less carbon than smallest reference in run | 0.36947 | 8.701 | 4.9735 | Contained less nitrogen than smallest reference | KT99 | B5 | Filtered seawater | 13C, 15N |  | 2006486 | 527024 | D
KT99-B6 | 1.0795 | -23.8637 | 110.4054 |  | 0.36831 | 5.5343 | 16.9634 | Precision decreases for samples containing less than 20ugN | KT99 | B6 | Filtered seawater | 13C, 15N |  | 2006487 | 527025 | D
KT99-B7 | 1.0812 | -22.3479 | 128.4548 |  | 0.36792 | 4.4685 | 24.6898 |  | KT99 | B7 | Filtered seawater | 13C, 15N |  | 2006488 | 527026 | D
KT99-B8 | 1.0767 | -26.4436 | 46.9124 | Contained less carbon than smallest reference in run | 0.36685 | 1.5242 | 19.6587 | Precision decreases for samples containing less than 20ugN | KT99 | B8 | Filtered seawater | 13C, 15N |  | 2006489 | 527027 | D
KT99-C1 | 1.0783 | -24.9485 | 97.8956 | Precision decreases for samples containing less than 100ugC | 0.36931 | 8.2584 | 5.3014 | Contained less nitrogen than smallest reference | KT99 | C1 | Filtered seawater | 13C, 15N |  | 2006490 | 527028 | D
KT99-C2 | 1.0817 | -21.8331 | 224.5508 |  | 0.36911 | 7.7045 | 17.9495 | Precision decreases for samples containing less than 20ugN | KT99 | C2 | Filtered seawater | 13C, 15N |  | 2006491 | 527029 | D
KT99-C3 | 1.0799 | -23.5065 | 146.7486 |  | 0.36923 | 8.0362 | 15.3427 | Precision decreases for samples containing less than 20ugN | KT99 | C3 | Filtered seawater | 13C, 15N |  | 2006492 | 527030 | D
KT99-C4 | 1.0799 | -23.4541 | 105.6219 |  | 0.36909 | 7.6751 | 6.7634 | Contained less nitrogen than smallest reference | KT99 | C4 | Filtered seawater | 13C, 15N |  | 2006493 | 527031 | D
KT99-C5 | 1.0821 | -21.5283 | 220.6673 |  | 0.369 | 7.4124 | 27.4094 |  | KT99 | C5 | Filtered seawater | 13C, 15N |  | 2006494 | 527032 | D
KT99-C6 | 1.0811 | -22.4228 | 165.6687 |  | 0.36917 | 7.8949 | 21.9725 |  | KT99 | C6 | Filtered seawater | 13C, 15N |  | 2006495 | 527033 | D
KT99-C7 | 1.0807 | -22.74 | 266.6612 |  | 0.36882 | 6.9302 | 20.6879 |  | KT99 | C7 | Filtered seawater | 13C, 15N |  | 2006496 | 527034 | D
KT99-C8 | 1.0796 | -23.7391 | 116.7523 |  | 0.36905 | 7.5543 | 5.9735 | Contained less nitrogen than smallest reference | KT99 | C8 | Filtered seawater | 13C, 15N |  | 2006497 | 527035 | D
KT99-D1 | 1.0784 | -24.8986 | 61.631 | Contained less carbon than smallest reference in run | 0.37512 | 24.1861 | 4.0332 | Contained less nitrogen than smallest reference | KT99 | D1 | Filtered seawater | 13C, 15N |  | 2006498 | 527040 | D
KT99-D2 | 1.0767 | -26.4253 | 56.1245 | Contained less carbon than smallest reference in run | 0.37144 | 14.0966 | 2.9833 | Contained less nitrogen than smallest reference | KT99 | D2 | Filtered seawater | 13C, 15N |  | 2006499 | 527041 | D
KT99-D3 | 1.0778 | -25.4356 | 115.8637 |  | 0.36982 | 9.6638 | 13.0902 | Precision decreases for samples containing less than 20ugN | KT99 | D3 | Filtered seawater | 13C, 15N |  | 2006500 | 527042 | D
KT99-D4 | 1.0779 | -25.299 | 132.4191 |  | 0.45089 | 231.9867 | 12.1633 | Precision decreases for samples containing less than 20ugN | KT99 | D4 | Filtered seawater | 13C, 15N |  | 2006501 | 527043 | D
KT99-D5 | 1.0807 | -22.744 | 335.9748 |  | 0.3696 | 9.0507 | 69.262 |  | KT99 | D5 | Filtered seawater | 13C, 15N |  | 2006502 | 527044 | D
KT99-D6 | 1.0773 | -25.8682 | 79.256 | Precision decreases for samples containing less than 100ugC | 0.37078 | 12.2971 | 8.6693 | Contained less nitrogen than smallest reference in run | KT99 | D6 | Filtered seawater | 13C, 15N |  | 2006503 | 527045 | D
KT99-D7 | 1.0768 | -26.3002 | 65.6587 | Contained less carbon than smallest reference in run | 0.50612 | 383.6822 | 13.3495 | Precision decreases for samples containing less than 20ugN | KT99 | D7 | Filtered seawater | 13C, 15N |  | 2006504 | 527046 | D
KT99-D8 | 1.0782 | -25.0897 | 93.6649 | Precision decreases for samples containing less than 100ugC | 0.36913 | 7.7741 | 17.4708 | Precision decreases for samples containing less than 20ugN | KT99 | D8 | Filtered seawater | 13C, 15N |  | 2006505 | 527047 | D
KT99-E1 | 1.0786 | -24.7005 | 98.964 | Precision decreases for samples containing less than 100ugC | 0.37066 | 11.9552 | 10.306 | Contained less nitrogen than smallest reference in run | KT99 | E1 | Filtered seawater | 13C, 15N |  | 2006506 | 527048 | D
KT99-E2 | 1.0768 | -26.3643 | 66.1285 | Contained less carbon than smallest reference in run | 0.37157 | 14.4478 | 6.4881 | Contained less nitrogen than smallest reference | KT99 | E2 | Filtered seawater | 13C, 15N |  | 2006507 | 527049 | D
KT99-E3 | 1.0774 | -25.7751 | 63.0431 | Contained less carbon than smallest reference in run | 0.37043 | 11.3415 | 19.1545 | Precision decreases for samples containing less than 20ugN | KT99 | E3 | Filtered seawater | 13C, 15N |  | 2006508 | 527050 | D
KT99-E4 | 1.079 | -24.3434 | 152.039 |  | 0.36928 | 8.1858 | 23.9718 |  | KT99 | E4 | Filtered seawater | 13C, 15N |  | 2006509 | 527051 | D
KT99-E5 | 1.0796 | -23.787 | 192.0884 |  | 0.37016 | 10.5873 | 38.4833 |  | KT99 | E5 | Filtered seawater | 13C, 15N |  | 2006510 | 527055 | D
KT99-E6 | 1.078 | -25.2191 | 77.3539 | Precision decreases for samples containing less than 100ugC | 0.3687 | 6.5984 | 17.5676 | Precision decreases for samples containing less than 20ugN | KT99 | E6 | Filtered seawater | 13C, 15N |  | 2006511 | 527056 | D
KT99-E7 | 1.0785 | -24.7349 | 122.4066 |  | 0.36917 | 7.8748 | 17.2155 | Precision decreases for samples containing less than 20ugN | KT99 | E7 | Filtered seawater | 13C, 15N |  | 2006512 | 527057 | D
KT99-E8 | 1.0791 | -24.2089 | 144.9574 |  | 0.37008 | 10.3868 | 22.9763 |  | KT99 | E8 | Filtered seawater | 13C, 15N |  | 2006513 | 527058 | D
KT99-F1 | 1.0791 | -24.1883 | 141.6519 |  | 0.36946 | 8.6891 | 14.1062 | Precision decreases for samples containing less than 20ugN | KT99 | F1 | Filtered seawater | 13C, 15N |  | 2006514 | 527059 | D
KT99-F2 | 1.0777 | -25.5257 | 96.8441 | Precision decreases for samples containing less than 100ugC | 0.37296 | 18.277 | 6.1078 | Contained less nitrogen than smallest reference | KT99 | F2 | Filtered seawater | 13C, 15N |  | 2006515 | 527060 | D
KT99-F3 | 1.0837 | -20.0627 | 77.1337 | Precision decreases for samples containing less than 100ugC | 0.36908 | 7.6444 | 10.1844 | Contained less nitrogen than smallest reference in run | KT99 | F3 | Filtered seawater | 13C, 15N |  | 2006516 | 527061 | D
KT99-F4 | 1.0792 | -24.1372 | 61.5123 | Contained less carbon than smallest reference in run | 0.36904 | 7.5338 | 11.3612 | Precision decreases for samples containing less than 20ugN | KT99 | F4 | Filtered seawater | 13C, 15N |  | 2006517 | 527062 | D
KT99-F5 | 1.0797 | -23.6427 | 77.683 | Precision decreases for samples containing less than 100ugC | 0.37006 | 10.3167 | 23.8132 |  | KT99 | F5 | Filtered seawater | 13C, 15N |  | 2006518 | 527063 | D
KT99-F6 | 1.0796 | -23.8114 | 94.4628 | Precision decreases for samples containing less than 100ugC | 0.36944 | 8.619 | 14.8884 | Precision decreases for samples containing less than 20ugN | KT99 | F6 | Filtered seawater | 13C, 15N |  | 2006519 | 527064 | D
KT99-F7 | 1.0824 | -21.2115 | 149.8604 |  | 0.3693 | 8.2269 | 17.9401 | Precision decreases for samples containing less than 20ugN | KT99 | F7 | Filtered seawater | 13C, 15N |  | 2006520 | 527065 | D
KT99-F8 | 1.0817 | -21.8858 | 103.2515 |  | 0.36919 | 7.9461 | 11.5702 | Precision decreases for samples containing less than 20ugN | KT99 | F8 | Filtered seawater | 13C, 15N |  | 2006521 | 527066 | D
NSR2-A1 | 1.0813 | -22.257 | 84.0756 | Precision decreases for samples containing less than 100ugC | 0.3698 | 9.605 | 8.8169 | Contained less nitrogen than smallest reference in run | NSR2 | A1 | Filtered seawater | 13C, 15N |  | 2006522 | 527072 | D
NSR2-A2 | 1.0797 | -23.6575 | 183.4402 |  | 0.38691 | 56.5054 | 11.2695 | Precision decreases for samples containing less than 20ugN | NSR2 | A2 | Filtered seawater | 13C, 15N |  | 2006523 | 527073 | D
NSR2-A3 | 1.0791 | -24.2689 | 53.0979 | Contained less carbon than smallest reference in run | 0.36824 | 5.344 | 10.9677 | Precision decreases for samples containing less than 20ugN | NSR2 | A3 | Filtered seawater | 13C, 15N |  | 2006524 | 527074 | D
NSR2-A4 | 1.0784 | -24.8379 | 46.0324 | Contained less carbon than smallest reference in run | 0.36984 | 9.7261 | 6.1449 | Contained less nitrogen than smallest reference | NSR2 | A4 | Filtered seawater | 13C, 15N |  | 2006525 | 527075 | D
NSR2-A5 | 1.0782 | -25.0168 | 133.7556 |  | 0.36856 | 6.2078 | 20.5033 |  | NSR2 | A5 | Filtered seawater | 13C, 15N |  | 2006526 | 527076 | D
NSR2-A6 | 1.0779 | -25.3436 | 127.4606 |  | 0.36893 | 7.223 | 18.8992 | Precision decreases for samples containing less than 20ugN | NSR2 | A6 | Filtered seawater | 13C, 15N |  | 2006527 | 527077 | D
NSR2-A7 | 1.0804 | -23.0177 | 165.9913 |  | 0.36831 | 5.5248 | 19.0479 | Precision decreases for samples containing less than 20ugN | NSR2 | A7 | Filtered seawater | 13C, 15N |  | 2006528 | 527078 | D
NSR2-A8 | 1.0783 | -24.9762 | 110.4803 |  | 0.36802 | 4.7211 | 16.5903 | Precision decreases for samples containing less than 20ugN | NSR2 | A8 | Filtered seawater | 13C, 15N |  | 2006529 | 527079 | D
NSR2-B1 | 1.0814 | -22.1032 | 64.7578 | Contained less carbon than smallest reference in run | 0.36812 | 5.0025 | 18.4669 | Precision decreases for samples containing less than 20ugN | NSR2 | B1 | Filtered seawater | 13C, 15N |  | 2006530 | 527080 | D
NSR2-B2 | 1.0812 | -22.3458 | 76.7005 | Precision decreases for samples containing less than 100ugC | 0.37018 | 10.6608 | 13.7436 | Precision decreases for samples containing less than 20ugN | NSR2 | B2 | Filtered seawater | 13C, 15N |  | 2006531 | 527081 | D
NSR2-B3 | 1.0818 | -21.7777 | 94.9753 | Precision decreases for samples containing less than 100ugC | 0.36971 | 9.3539 | 24.6208 |  | NSR2 | B3 | Filtered seawater | 13C, 15N |  | 2006532 | 527082 | D
NSR2-B4 | 1.0815 | -22.0733 | 59.5187 | Contained less carbon than smallest reference in run | 0.36876 | 6.762 | 12.8105 | Precision decreases for samples containing less than 20ugN | NSR2 | B4 | Filtered seawater | 13C, 15N |  | 2006533 | 527083 | D
NSR2-B5 | 1.0816 | -21.9701 | 74.849 | Precision decreases for samples containing less than 100ugC | 0.36819 | 5.2045 | 19.369 | Precision decreases for samples containing less than 20ugN | NSR2 | B5 | Filtered seawater | 13C, 15N |  | 2006534 | 527087 | D
NSR2-B6 | 1.0811 | -22.36 | 107.347 |  | 0.36956 | 8.9535 | 13.7723 | Precision decreases for samples containing less than 20ugN | NSR2 | B6 | Filtered seawater | 13C, 15N |  | 2006535 | 527088 | D
NSR2-B7 | 1.0816 | -21.971 | 106.8034 |  | 0.36926 | 8.1396 | 14.9403 | Precision decreases for samples containing less than 20ugN | NSR2 | B7 | Filtered seawater | 13C, 15N |  | 2006536 | 527089 | D
NSR2-B8 | 1.0806 | -22.8454 | 99.7447 | Precision decreases for samples containing less than 100ugC | 0.37093 | 12.7125 | 11.5176 | Precision decreases for samples containing less than 20ugN | NSR2 | B8 | Filtered seawater | 13C, 15N |  | 2006537 | 527090 | D
NSR2-C1 | 1.0815 | -22.004 | 73.387 | Precision decreases for samples containing less than 100ugC | 0.36849 | 6.0296 | 14.6352 | Precision decreases for samples containing less than 20ugN | NSR2 | C1 | Filtered seawater | 13C, 15N |  | 2006538 | 527091 | D
NSR2-C2 | 1.0803 | -23.1732 | 69.2739 | Contained less carbon than smallest reference in run | 0.37018 | 10.643 | 8.3691 | Contained less nitrogen than smallest reference in run | NSR2 | C2 | Filtered seawater | 13C, 15N |  | 2006539 | 527092 | D
NSR2-C3 | 1.0816 | -21.9421 | 72.7043 | Precision decreases for samples containing less than 100ugC | 0.36857 | 6.2511 | 14.1797 | Precision decreases for samples containing less than 20ugN | NSR2 | C3 | Filtered seawater | 13C, 15N |  | 2006540 | 527093 | D
NSR2-C4 | 1.08 | -23.4268 | 111.4054 |  | 0.37045 | 11.3866 | 13.0488 | Precision decreases for samples containing less than 20ugN | NSR2 | C4 | Filtered seawater | 13C, 15N |  | 2006541 | 527094 | D
NSR2-C5 | 1.0803 | -23.175 | 73.1618 | Precision decreases for samples containing less than 100ugC | 0.36926 | 8.1408 | 13.9255 | Precision decreases for samples containing less than 20ugN | NSR2 | C5 | Filtered seawater | 13C, 15N |  | 2006542 | 527095 | D
NSR2-C6 | 1.0795 | -23.8811 | 59.4824 | Contained less carbon than smallest reference in run | 0.36894 | 7.2571 | 7.6561 | Contained less nitrogen than smallest reference in run | NSR2 | C6 | Filtered seawater | 13C, 15N |  | 2006543 | 527096 | D
NSR2-C7 | 1.0784 | -24.8396 | 63.4839 | Contained less carbon than smallest reference in run | 0.36819 | 5.1965 | 16.1603 | Precision decreases for samples containing less than 20ugN | NSR2 | C7 | Filtered seawater | 13C, 15N |  | 2006544 | 527097 | D
NSR2-C8 | 1.0794 | -23.9982 | 58.4552 | Contained less carbon than smallest reference in run | 0.36834 | 5.5991 | 10.7399 | Contained less nitrogen than smallest reference in run | NSR2 | C8 | Filtered seawater | 13C, 15N |  | 2006545 | 527098 | D
NSR2-D1 | 1.0782 | -25.0561 | 707.7183 | doubled with nylow | 0.36649 | 0.54499 | 69.6986 | doubled with nylow | NSR2 | D1 | Filtered seawater | 13C, 15N |  | 2006546 | 527103 | D
NSR2-D2 | 1.078 | -25.191 | 63.6849 | Contained less carbon than smallest reference in run | 0.37063 | 11.8815 | 6.0022 | Contained less nitrogen than smallest reference | NSR2 | D2 | Filtered seawater | 13C, 15N |  | 2006547 | 527104 | D
NSR2-D3 | 1.0804 | -23.086 | 85.3867 | Precision decreases for samples containing less than 100ugC | 0.37009 | 10.3941 | 9.9379 | Contained less nitrogen than smallest reference in run | NSR2 | D3 | Filtered seawater | 13C, 15N |  | 2006548 | 527105 | D
NSR2-D4 | 1.0797 | -23.6764 | 71.0049 | Contained less carbon than smallest reference in run | 0.36934 | 8.3441 | 12.2711 | Precision decreases for samples containing less than 20ugN | NSR2 | D4 | Filtered seawater | 13C, 15N |  | 2006549 | 527106 | D
NSR2-D5 | 1.0773 | -25.8563 | 61.5099 | Contained less carbon than smallest reference in run | 0.36902 | 7.4701 | 10.7443 | Contained less nitrogen than smallest reference in run | NSR2 | D5 | Filtered seawater | 13C, 15N |  | 2006550 | 527107 | D
NSR2-D6 | 1.0771 | -26.0887 | 47.9839 | Contained less carbon than smallest reference in run | 0.63848 | 747.8694 | 18.038 | Precision decreases for samples containing less than 20ugN | NSR2 | D6 | Filtered seawater | 13C, 15N |  | 2006551 | 527108 | D
NSR2-D7 | 1.0774 | -25.7625 | 123.5942 |  | 0.37418 | 21.6095 | 19.8532 | Precision decreases for samples containing less than 20ugN | NSR2 | D7 | Filtered seawater | 13C, 15N |  | 2006552 | 527109 | D
NSR2-D8 | 1.0774 | -25.7843 | 117.6264 |  | 0.36996 | 10.0524 | 30.072 |  | NSR2 | D8 | Filtered seawater | 13C, 15N |  | 2006553 | 527110 | D
NSR2-E1 |  |  |  | E1 and E2 doubled |  |  |  | E1 and E2 doubled | NSR2 | E1 | Filtered seawater | 13C, 15N |  | 2006554
NSR2-E2 | 1.078 | -25.2502 | 307.3369 | E1 and E2 doubled | 0.36788 | 4.3449 | 24.4632 | E1 and E2 doubled | NSR2 | E2 | Filtered seawater | 13C, 15N |  | 2006555 | 527112 | D
NSR2-E3 | 1.0786 | -24.7015 | 105.4286 |  | 0.36847 | 5.9537 | 13.3158 | Precision decreases for samples containing less than 20ugN | NSR2 | E3 | Filtered seawater | 13C, 15N |  | 2006556 | 527113 | D
NSR2-E4 | 1.0782 | -25.08 | 655.2248 |  | 0.36791 | 4.4231 | 115.3508 |  | NSR2 | E4 | Filtered seawater | 13C, 15N |  | 2006557 | 527114 | D
NSR2-E5 | 1.078 | -25.2257 | 138.6176 |  | 0.36782 | 4.1953 | 16.8283 | Precision decreases for samples containing less than 20ugN | NSR2 | E5 | Filtered seawater | 13C, 15N |  | 2006558 | 527145 | D
NSR2-E6 | 1.0804 | -23.0823 | 115.2313 |  | 0.36945 | 8.6632 | 14.2468 | Precision decreases for samples containing less than 20ugN | NSR2 | E6 | Filtered seawater | 13C, 15N |  | 2006559 | 527146 | D
NSR2-E7 | 1.0772 | -26.0041 | 115.1099 |  | 0.36747 | 3.2217 | 23.2333 |  | NSR2 | E7 | Filtered seawater | 13C, 15N |  | 2006560 | 527147 | D
NSR2-E8 | 1.0798 | -23.5534 | 343.4762 |  | 0.3677 | 3.8528 | 70.3468 |  | NSR2 | E8 | Filtered seawater | 13C, 15N |  | 2006561 | 527148 | D
NSR2-F1 | 1.0785 | -24.7947 | 313.7767 |  | 0.36784 | 4.2368 | 58.0564 |  | NSR2 | F1 | Filtered seawater | 13C, 15N |  | 2006562 | 527149 | D
NSR2-F2 | 1.0773 | -25.8996 | 113.5002 |  | 0.36813 | 5.0329 | 14.9205 | Precision decreases for samples containing less than 20ugN | NSR2 | F2 | Filtered seawater | 13C, 15N |  | 2006563 | 527150 | D
NSR2-F3 | 1.0771 | -26.0469 | 107.0484 |  | 0.36794 | 4.5117 | 13.8418 | Precision decreases for samples containing less than 20ugN | NSR2 | F3 | Filtered seawater | 13C, 15N |  | 2006564 | 527151 | D
NSR2-F4 | 1.0775 | -25.6797 | 119.8265 |  | 0.36794 | 4.5243 | 19.3641 | Precision decreases for samples containing less than 20ugN | NSR2 | F4 | Filtered seawater | 13C, 15N |  | 2006565 | 527152 | D
NSR2-F5 | 1.0776 | -25.5932 | 99.1006 | Precision decreases for samples containing less than 100ugC | 0.36698 | 1.8794 | 27.4869 |  | NSR2 | F5 | Filtered seawater | 13C, 15N |  | 2006566 | 527153 | D
NSR2-F6 | 1.078 | -25.2379 | 123.6248 |  | 0.3676 | 3.5672 | 20.9305 |  | NSR2 | F6 | Filtered seawater | 13C, 15N |  | 2006567 | 527154 | D
NSR2-F7 | 1.0775 | -25.7248 | 135.0353 |  | 0.36748 | 3.2427 | 8.5089 | Precision decreases for samples containing less than 20ugN | NSR2 | F7 | Filtered seawater | 13C, 15N |  | 2006568 | 527155 | D
NSR2-F8 | 1.075 | -28.0011 | 28.9859 | Contained less carbon than smallest reference | 0.37025 | 10.8446 | 1.2446 | Contained less nitrogen than smallest reference | NSR2 | F8 | Filtered seawater | 13C, 15N |  | 2006569 | 527156 | D
KT98-A1 | 1.0822 | -21.397 | 342.5148 |  | 0.36922 | 8.0059 | 42.0085 |  | KT98 | A1 | Filtered seawater | 13C, 15N |  | 2006570 | 527163 | D
KT98-A2 | 1.0811 | -22.3958 | 137.143 |  | 0.36911 | 7.7167 | 16.3205 | Precision decreases for samples containing less than 20ugN | KT98 | A2 | Filtered seawater | 13C, 15N |  | 2006571 | 527164 | D
KT98-A3 | 1.081 | -22.5284 | 271.5765 |  | 0.36913 | 7.7614 | 28.2081 |  | KT98 | A3 | Filtered seawater | 13C, 15N |  | 2006572 | 527165 | D
KT98-A4 | 1.0773 | -25.875 | 32.3316 | Contained less carbon than smallest reference | 0.36951 | 8.803 | 2.154 | Contained less nitrogen than smallest reference | KT98 | A4 | Filtered seawater | 13C, 15N |  | 2006573 | 527166 | D
KT98-A5 | 1.0839 | -19.8354 | 235.1535 |  | 0.36898 | 7.3602 | 35.6203 |  | KT98 | A5 | Filtered seawater | 13C, 15N |  | 2006574 | 527167 | D
KT98-A6 | 1.0821 | -21.4981 | 201.3681 |  | 0.36904 | 7.5277 | 22.5238 |  | KT98 | A6 | Filtered seawater | 13C, 15N |  | 2006575 | 527168 | D
KT98-A7 | 1.0863 | -17.6148 | 356.4257 |  | 0.36963 | 9.134 | 40.7125 |  | KT98 | A7 | Filtered seawater | 13C, 15N |  | 2006576 | 527169 | D
KT98-A8 | 1.0866 | -17.3931 | 351.5255 |  | 0.36927 | 8.1443 | 35.9427 |  | KT98 | A8 | Filtered seawater | 13C, 15N |  | 2006577 | 527170 | D
KT98-B1 | 1.0832 | -20.4392 | 508.8235 |  | 0.36955 | 8.9254 | 77.9947 |  | KT98 | B1 | Filtered seawater | 13C, 15N |  | 2006578 | 527171 | D
KT98-B2 | 1.0824 | -21.2087 | 238.0777 |  | 0.36918 | 7.9149 | 26.54 |  | KT98 | B2 | Filtered seawater | 13C, 15N |  | 2006579 | 527172 | D
KT98-B3 | 1.0841 | -19.7031 | 256.0204 |  | 0.3692 | 7.9661 | 25.8746 |  | KT98 | B3 | Filtered seawater | 13C, 15N |  | 2006580 | 527173 | D
KT98-B4 | 1.0829 | -20.7877 | 150.7138 |  | 0.36907 | 7.603 | 19.1412 | Precision decreases for samples containing less than 20ugN | KT98 | B4 | Filtered seawater | 13C, 15N |  | 2006581 | 527174 | D
KT98-B5 | 1.0808 | -22.6474 | 74.8053 | Precision decreases for samples containing less than 100ugC | 0.37126 | 13.5989 | 2.8516 | Contained less nitrogen than smallest reference | KT98 | B5 | Filtered seawater | 13C, 15N |  | 2006582 | 527179 | D
KT98-B6 | 1.0847 | -19.0653 | 278.9769 |  | 0.36894 | 7.2411 | 35.0963 |  | KT98 | B6 | Filtered seawater | 13C, 15N |  | 2006583 | 527180 | D
KT98-B7 | 1.0854 | -18.4724 | 257.0578 |  | 0.3691 | 7.682 | 28.3243 |  | KT98 | B7 | Filtered seawater | 13C, 15N |  | 2006584 | 527181 | D
KT98-B8 | 1.083 | -20.6977 | 252.7148 |  | 0.36902 | 7.473 | 26.6869 |  | KT98 | B8 | Filtered seawater | 13C, 15N |  | 2006585 | 527182 | D
KT98-C1 | 1.0822 | -21.4318 | 302.8248 |  | 0.36899 | 7.3786 | 38.0119 |  | KT98 | C1 | Filtered seawater | 13C, 15N |  | 2006586 | 527183 | D
KT98-C2 | 1.0816 | -21.9879 | 363.5579 |  | 0.36865 | 6.4692 | 60.4307 |  | KT98 | C2 | Filtered seawater | 13C, 15N |  | 2006587 | 527184 | D
KT98-C3 | 1.0813 | -22.2143 | 136.9975 |  | 0.36925 | 8.0927 | 14.5127 | Precision decreases for samples containing less than 20ugN | KT98 | C3 | Filtered seawater | 13C, 15N |  | 2006588 | 527185 | D
KT98-C4 | 1.0858 | -18.0725 | 775.7872 |  | 0.36905 | 7.5509 | 119.3407 |  | KT98 | C4 | Filtered seawater | 13C, 15N |  | 2006589 | 527186 | D
KT98-C5 | 1.0854 | -18.4786 | 728.9678 |  | 0.36886 | 7.0306 | 98.3632 |  | KT98 | C5 | Filtered seawater | 13C, 15N |  | 2006590 | 527187 | D
KT98-C6 | 1.0827 | -20.9158 | 204.6667 |  | 0.36945 | 8.638 | 20.3317 |  | KT98 | C6 | Filtered seawater | 13C, 15N |  | 2006591 | 527188 | D
KT98-C7 | 1.0822 | -21.3893 | 368.5756 |  | 0.36872 | 6.6396 | 51.6123 |  | KT98 | C7 | Filtered seawater | 13C, 15N |  | 2006592 | 527189 | D
KT98-C8 | 1.083 | -20.6884 | 412.9644 |  | 0.36944 | 8.6213 | 60.3245 |  | KT98 | C8 | Filtered seawater | 13C, 15N |  | 2006593 | 527190 | D
KT98-D1 | 1.0828 | -20.8256 | 488.1809 |  | 0.37002 | 10.2028 | 79.1623 |  | KT98 | D1 | Filtered seawater | 13C, 15N |  | 2006594 | 527194 | D
KT98-D2 | 1.0862 | -17.7797 | 326.046 |  | 0.36892 | 7.1934 | 42.1532 |  | KT98 | D2 | Filtered seawater | 13C, 15N |  | 2006595 | 527195 | D
KT98-D3 | 1.0845 | -19.2891 | 333.3323 |  | 0.36896 | 7.3167 | 39.9477 |  | KT98 | D3 | Filtered seawater | 13C, 15N |  | 2006596 | 527196 | D
KT98-D4 | 1.0814 | -22.1185 | 266.2717 |  | 0.36934 | 8.3447 | 29.7528 |  | KT98 | D4 | Filtered seawater | 13C, 15N |  | 2006597 | 527197 | D
KT98-D5 | 1.0812 | -22.3485 | 157.9239 |  | 0.36917 | 7.8861 | 19.0875 | Precision decreases for samples containing less than 20ugN | KT98 | D5 | Filtered seawater | 13C, 15N |  | 2006598 | 527198 | D
KT98-D6 | 1.0816 | -21.9248 | 227.1684 |  | 0.36875 | 6.7315 | 33.3723 |  | KT98 | D6 | Filtered seawater | 13C, 15N |  | 2006599 | 527199 | D
KT98-D7 | 1.0828 | -20.8329 | 177.2839 |  | 0.36928 | 8.1974 | 19.4322 | Precision decreases for samples containing less than 20ugN | KT98 | D7 | Filtered seawater | 13C, 15N |  | 2006600 | 527200 | D
KT98-D8 | 1.0882 | -15.9151 | 236.2715 |  | 0.37027 | 10.9029 | 18.8568 | Precision decreases for samples containing less than 20ugN | KT98 | D8 | Filtered seawater | 13C, 15N |  | 2006601 | 527201 | D
KT98-E1 | 1.0823 | -21.267 | 360.3403 |  | 0.36892 | 7.1936 | 42.2895 |  | KT98 | E1 | Filtered seawater | 13C, 15N |  | 2006602 | 527202 | D
KT98-E2 | 1.0832 | -20.5242 | 230.6686 |  | 0.36931 | 8.2606 | 25.0042 |  | KT98 | E2 | Filtered seawater | 13C, 15N |  | 2006603 | 527203 | D
KT98-E3 | 1.0835 | -20.1998 | 248.902 |  | 0.36915 | 7.8261 | 34.7108 |  | KT98 | E3 | Filtered seawater | 13C, 15N |  | 2006604 | 527204 | D
KT98-E4 | 1.084 | -19.7868 | 407.1661 |  | 0.36998 | 10.1131 | 57.4363 |  | KT98 | E4 | Filtered seawater | 13C, 15N |  | 2006605 | 527205 | D
KT98-E5 | 1.0765 | -26.5688 | 35.6962 | Contained less carbon than smallest reference | 0.36797 | 4.5856 | 14.101 | Precision decreases for samples containing less than 20ugN | KT98 | E5 | Filtered seawater | 13C, 15N |  | 2006606 | 527212 | D
KT98-E6 | 1.0883 | -15.8585 | 339.3903 |  | 0.36938 | 8.46 | 26.6204 |  | KT98 | E6 | Filtered seawater | 13C, 15N |  | 2006607 | 527213 | D
KT98-E7 | 1.0818 | -21.7391 | 210.9506 |  | 0.36918 | 7.9105 | 23.9484 |  | KT98 | E7 | Filtered seawater | 13C, 15N |  | 2006608 | 527214 | D
KT98-E8 | 1.082 | -21.5565 | 179.6153 |  | 0.36843 | 5.8549 | 27.4634 |  | KT98 | E8 | Filtered seawater | 13C, 15N |  | 2006609 | 527215 | D
KT98-F1 | 1.0818 | -21.7333 | 331.6973 |  | 0.3688 | 6.8741 | 49.7688 |  | KT98 | F1 | Filtered seawater | 13C, 15N |  | 2006610 | 527216 | D
KT98-F2 | 1.0826 | -21.0036 | 311.322 |  | 0.36856 | 6.2206 | 49.7822 |  | KT98 | F2 | Filtered seawater | 13C, 15N |  | 2006611 | 527217 | D
KT98-F3 | 1.0839 | -19.8823 | 279.7963 |  | 0.36884 | 6.9786 | 37.589 |  | KT98 | F3 | Filtered seawater | 13C, 15N |  | 2006612 | 527218 | D
KT98-F4 | 1.082 | -21.6206 | 172.957 |  | 0.36946 | 8.685 | 23.8422 |  | KT98 | F4 | Filtered seawater | 13C, 15N |  | 2006613 | 527219 | D
KT98-F5 | 1.0826 | -20.991 | 195.8775 |  | 0.36913 | 7.7772 | 26.14 |  | KT98 | F5 | Filtered seawater | 13C, 15N |  | 2006614 | 527220 | D
KT98-F6 | 1.0833 | -20.4009 | 285.122 |  | 0.36905 | 7.5558 | 34.331 |  | KT98 | F6 | Filtered seawater | 13C, 15N |  | 2006615 | 527221 | D
KT98-F7 | 1.0857 | -18.2112 | 402.5407 |  | 0.36892 | 7.2095 | 56.0508 |  | KT98 | F7 | Filtered seawater | 13C, 15N |  | 2006616 | 527222 | D
KT98-F8 | 1.0843 | -19.4919 | 261.014 |  | 0.36872 | 6.6572 | 37.4672 |  | KT98 | F8 | Filtered seawater | 13C, 15N |  | 2006617 | 527223 | D
JT05-A1 | 1.0815 | -22.0268 | 102.2271 |  | 0.36982 | 9.6765 | 12.1206 | Precision decreases for samples containing less than 20ugN | JT05 | A1 | Filtered seawater | 13C, 15N |  | 2006618 | 527227 | D
JT05-A2 | 1.0794 | -23.9398 | 44.594 | Precision decreases for samples containing less than 100ugC | 0.36925 | 8.1108 | 10.1603 | Precision decreases for samples containing less than 20ugN | JT05 | A2 | Filtered seawater | 13C, 15N |  | 2006619 | 527228 | D
JT05-A3 | 1.0802 | -23.2083 | 97.6648 | Precision decreases for samples containing less than 100ugC | 0.37024 | 10.8206 | 13.6535 | Precision decreases for samples containing less than 20ugN | JT05 | A3 | Filtered seawater | 13C, 15N |  | 2006620 | 527229 | D
JT05-A4 | 1.0793 | -24.0144 | 44.7011 | Precision decreases for samples containing less than 100ugC | 0.36992 | 9.9388 | 4.6122 | Contained less nitrogen than smallest reference | JT05 | A4 | Filtered seawater | 13C, 15N |  | 2006621 | 527230 | D
JT05-A5 | 1.0804 | -23.0194 | 98.4592 | Precision decreases for samples containing less than 100ugC | 0.36921 | 8.002 | 16.1161 | Precision decreases for samples containing less than 20ugN | JT05 | A5 | Filtered seawater | 13C, 15N |  | 2006622 | 527231 | D
JT05-A6 | 1.0795 | -23.8786 | 48.2782 | Precision decreases for samples containing less than 100ugC | 0.37141 | 14.0204 | 4.9913 | Contained less nitrogen than smallest reference | JT05 | A6 | Filtered seawater | 13C, 15N |  | 2006623 | 527232 | D
JT05-A7 | 1.0789 | -24.3967 | 55.5938 | Precision decreases for samples containing less than 100ugC | 0.36881 | 6.8849 | 9.6916 | Precision decreases for samples containing less than 20ugN | JT05 | A7 | Filtered seawater | 13C, 15N |  | 2006624 | 527233 | D
JT05-A8 | 1.082 | -21.5865 | 100.4902 |  | 0.36953 | 8.8733 | 11.4463 | Precision decreases for samples containing less than 20ugN | JT05 | A8 | Filtered seawater | 13C, 15N |  | 2006625 | 527234 | D
JT05-B1 | 1.0811 | -22.3772 | 94.7296 | Precision decreases for samples containing less than 100ugC | 0.36944 | 8.6216 | 11.7111 | Precision decreases for samples containing less than 20ugN | JT05 | B1 | Filtered seawater | 13C, 15N |  | 2006626 | 527235 | D
JT05-B2 | 1.0794 | -23.9348 | 63.4984 | Precision decreases for samples containing less than 100ugC | 0.36789 | 4.3733 | 15.4826 | Precision decreases for samples containing less than 20ugN | JT05 | B2 | Filtered seawater | 13C, 15N |  | 2006627 | 527236 | D
JT05-B3 | 1.081 | -22.4757 | 117.5375 |  | 0.36963 | 9.1302 | 14.7178 | Precision decreases for samples containing less than 20ugN | JT05 | B3 | Filtered seawater | 13C, 15N |  | 2006628 | 527237 | D
JT05-B4 | 1.0779 | -25.3573 | 45.8578 | Precision decreases for samples containing less than 100ugC | 0.37054 | 11.6381 | 4.6422 | Contained less nitrogen than smallest reference | JT05 | B4 | Filtered seawater | 13C, 15N |  | 2006629 | 527238 | D
JT05-B5 | 1.0817 | -21.8948 | 89.0915 | Precision decreases for samples containing less than 100ugC | 0.36832 | 5.5661 | 18.2423 | Precision decreases for samples containing less than 20ugN | JT05 | B5 | Filtered seawater | 13C, 15N |  | 2006630 | 527243 | D
JT05-B6 | 1.081 | -22.5387 | 90.3019 | Precision decreases for samples containing less than 100ugC | 0.36956 | 8.9448 | 17.9635 | Precision decreases for samples containing less than 20ugN | JT05 | B6 | Filtered seawater | 13C, 15N |  | 2006631 | 527244 | D
JT05-B7 | 1.0815 | -22.0637 | 83.6587 | Precision decreases for samples containing less than 100ugC | 0.36998 | 10.1059 | 14.5211 | Precision decreases for samples containing less than 20ugN | JT05 | B7 | Filtered seawater | 13C, 15N |  | 2006632 | 527245 | D
JT05-B8 | 1.081 | -22.4528 | 70.7434 | Precision decreases for samples containing less than 100ugC | 0.36935 | 8.3854 | 8.2229 | Precision decreases for samples containing less than 20ugN | JT05 | B8 | Filtered seawater | 13C, 15N |  | 2006633 | 527246 | D
JT05-C1 | 1.0818 | -21.7498 | 97.6672 | Precision decreases for samples containing less than 100ugC | 0.36827 | 5.403 | 19.9384 | Precision decreases for samples containing less than 20ugN | JT05 | C1 | Filtered seawater | 13C, 15N |  | 2006634 | 527247 | D
JT05-C2 | 1.0812 | -22.3419 | 106.5602 |  | 0.36841 | 5.811 | 23.1456 |  | JT05 | C2 | Filtered seawater | 13C, 15N |  | 2006635 | 527248 | D
JT05-C3 | 1.0816 | -21.9409 | 100.6505 |  | 0.36762 | 3.6345 | 26.7556 |  | JT05 | C3 | Filtered seawater | 13C, 15N |  | 2006636 | 527249 | D
JT05-C4 | 1.0802 | -23.2599 | 102.6692 |  | 0.36968 | 9.2719 | 14.1379 | Precision decreases for samples containing less than 20ugN | JT05 | C4 | Filtered seawater | 13C, 15N |  | 2006637 | 527250 | D
JT05-C5 | 1.0819 | -21.6257 | 104.2577 |  | 0.36871 | 6.635 | 16.0284 | Precision decreases for samples containing less than 20ugN | JT05 | C5 | Filtered seawater | 13C, 15N |  | 2006638 | 527251 | D
JT05-C6 | 1.0801 | -23.3533 | 83.4909 | Precision decreases for samples containing less than 100ugC | 0.3713 | 13.7156 | 7.3497 | Precision decreases for samples containing less than 20ugN | JT05 | C6 | Filtered seawater | 13C, 15N |  | 2006639 | 527252 | D
JT05-C7 | 1.0818 | -21.7926 | 81.5532 | Precision decreases for samples containing less than 100ugC | 0.36771 | 3.8794 | 24.0484 |  | JT05 | C7 | Filtered seawater | 13C, 15N |  | 2006640 | 527253 | D
JT05-C8 | 1.0809 | -22.5542 | 96.2847 | Precision decreases for samples containing less than 100ugC | 0.36999 | 10.1223 | 10.067 | Precision decreases for samples containing less than 20ugN | JT05 | C8 | Filtered seawater | 13C, 15N |  | 2006641 | 527254 | D
JT05-D1 | 1.08 | -23.3676 | 82.7445 | Precision decreases for samples containing less than 100ugC | 0.36902 | 7.4807 | 8.1597 | Precision decreases for samples containing less than 20ugN | JT05 | D1 | Filtered seawater | 13C, 15N |  | 2006642 | 527261 | D
JT05-D2 | 1.0808 | -22.6513 | 86.0993 | Precision decreases for samples containing less than 100ugC | 0.37004 | 10.2715 | 11.1804 | Precision decreases for samples containing less than 20ugN | JT05 | D2 | Filtered seawater | 13C, 15N |  | 2006643 | 527262 | D
JT05-D3 | 1.0791 | -24.2101 | 65.3743 | Precision decreases for samples containing less than 100ugC | 0.37075 | 12.2153 | 8.9368 | Precision decreases for samples containing less than 20ugN | JT05 | D3 | Filtered seawater | 13C, 15N |  | 2006644 | 527263 | D
JT05-D4 | 1.0801 | -23.3272 | 86.5855 | Precision decreases for samples containing less than 100ugC | 0.3709 | 12.6317 | 13.0608 | Precision decreases for samples containing less than 20ugN | JT05 | D4 | Filtered seawater | 13C, 15N |  | 2006645 | 527264 | D
JT05-D5 | 1.0798 | -23.6236 | 92.494 | Precision decreases for samples containing less than 100ugC | 0.42439 | 159.2877 | 12.9083 | Precision decreases for samples containing less than 20ugN | JT05 | D5 | Filtered seawater | 13C, 15N |  | 2006646 | 527265 | D
JT05-D6 | 1.0828 | -20.8225 | 125.0105 |  | 0.3696 | 9.0481 | 16.0837 | Precision decreases for samples containing less than 20ugN | JT05 | D6 | Filtered seawater | 13C, 15N |  | 2006647 | 527266 | D
JT05-D7 | 1.0805 | -22.9249 | 63.3986 | Precision decreases for samples containing less than 100ugC | 0.3711 | 13.1625 | 7.4586 | Precision decreases for samples containing less than 20ugN | JT05 | D7 | Filtered seawater | 13C, 15N |  | 2006648 | 527267 | D
JT05-D8 | 1.0798 | -23.6236 | 81.4219 | Precision decreases for samples containing less than 100ugC | 0.37047 | 11.4565 | 12.2061 | Precision decreases for samples containing less than 20ugN | JT05 | D8 | Filtered seawater | 13C, 15N |  | 2006649 | 527268 | D
JT05-E1 | 1.0806 | -22.9031 | 49.8925 | Precision decreases for samples containing less than 100ugC | 0.37004 | 10.2799 | 5.3366 | Contained less nitrogen than smallest reference | JT05 | E1 | Filtered seawater | 13C, 15N |  | 2006650 | 527269 | D
JT05-E2 | 1.0796 | -23.7302 | 84.0841 | Precision decreases for samples containing less than 100ugC | 0.3696 | 9.0731 | 12.5217 | Precision decreases for samples containing less than 20ugN | JT05 | E2 | Filtered seawater | 13C, 15N |  | 2006651 | 527270 | D
JT05-E3 | 1.0794 | -23.9573 | 38.7608 | Precision decreases for samples containing less than 100ugC | 0.37002 | 10.2208 | 4.518 | Contained less nitrogen than smallest reference | JT05 | E3 | Filtered seawater | 13C, 15N |  | 2006652 | 527271 | D
JT05-E4 | 1.079 | -24.2787 | 76.9843 | Precision decreases for samples containing less than 100ugC | 0.36997 | 10.071 | 10.7284 | Precision decreases for samples containing less than 20ugN | JT05 | E4 | Filtered seawater | 13C, 15N |  | 2006653 | 527272 | D
JT05-E5 | 1.0788 | -24.5303 | 46.5494 | Precision decreases for samples containing less than 100ugC | 0.37469 | 23.0089 | 5.319 | Contained less nitrogen than smallest reference | JT05 | E5 | Filtered seawater | 13C, 15N |  | 2006654 | 527277 | D
JT05-E6 | 1.08 | -23.3808 | 43.4908 | Precision decreases for samples containing less than 100ugC | 0.37009 | 10.4008 | 5.1548 | Contained less nitrogen than smallest reference | JT05 | E6 | Filtered seawater | 13C, 15N |  | 2006655 | 527278 | D
JT05-E7 | 1.0812 | -22.3526 | 84.4123 | Precision decreases for samples containing less than 100ugC | 0.36953 | 8.8647 | 10.5128 | Precision decreases for samples containing less than 20ugN | JT05 | E7 | Filtered seawater | 13C, 15N |  | 2006656 | 527279 | D
JT05-E8 | 1.08 | -23.3665 | 92.5547 | Precision decreases for samples containing less than 100ugC | 0.3695 | 8.7821 | 12.0211 | Precision decreases for samples containing less than 20ugN | JT05 | E8 | Filtered seawater | 13C, 15N |  | 2006657 | 527280 | D
JT05-F1 | 1.0809 | -22.5824 | 58.7239 | Precision decreases for samples containing less than 100ugC | 0.36996 | 10.0489 | 5.0719 | Contained less nitrogen than smallest reference | JT05 | F1 | Filtered seawater | 13C, 15N |  | 2006658 | 527281 | D
JT05-F2 | 1.0816 | -21.9858 | 93.3567 | Precision decreases for samples containing less than 100ugC | 0.36938 | 8.4698 | 12.4725 | Precision decreases for samples containing less than 20ugN | JT05 | F2 | Filtered seawater | 13C, 15N |  | 2006659 | 527282 | D
JT05-F3 | 1.0799 | -23.5196 | 39.6961 | Precision decreases for samples containing less than 100ugC | 0.37011 | 10.4616 | 4.7759 | Contained less nitrogen than smallest reference | JT05 | F3 | Filtered seawater | 13C, 15N |  | 2006660 | 527283 | D
JT05-F4 | 1.0799 | -23.5421 | 47.6695 | Precision decreases for samples containing less than 100ugC | 0.36942 | 8.5577 | 7.181 | Precision decreases for samples containing less than 20ugN | JT05 | F4 | Filtered seawater | 13C, 15N |  | 2006661 | 527284 | D
JT05-F5 | 1.0796 | -23.7782 | 77.9181 | Precision decreases for samples containing less than 100ugC | 0.37047 | 11.4532 | 7.3519 | Precision decreases for samples containing less than 20ugN | JT05 | F5 | Filtered seawater | 13C, 15N |  | 2006662 | 527285 | D
JT05-F6 | 1.081 | -22.5208 | 54.9488 | Precision decreases for samples containing less than 100ugC | 0.36939 | 8.4954 | 8.5357 | Precision decreases for samples containing less than 20ugN | JT05 | F6 | Filtered seawater | 13C, 15N |  | 2006663 | 527286 | D
JT05-F7 | 1.0803 | -23.0913 | 58.8602 | Precision decreases for samples containing less than 100ugC | 0.37001 | 10.186 | 7.4972 | Precision decreases for samples containing less than 20ugN | JT05 | F7 | Filtered seawater | 13C, 15N |  | 2006664 | 527287 | D
JT05-F8 | 1.0752 | -27.7815 | 118.2779 |  | 0.37538 | 24.8998 | 4.7692 | Contained less nitrogen than smallest reference | JT05 | F8 | Filtered seawater | 13C, 15N |  | 2006665 | 527288 | D

## References
Reference Materials
Summary | %C | δ13CVPDB (‰) Expected | δ13CVPDB (‰) Mean* | δ13CVPDB (‰) Standard Deviation* | %N | δ15NAir (‰) Expected | δ15NAir (‰) Mean* | δ15NAir (‰) Standard Deviation* | Use
Alfalfa Flour | 42.6188 | -29.6726 | N/A | N/A | 4.6842 | 1.8089 | N/A | N/A | Linearity Correction, Elemental Totals
Amaranth Flour | 42.1069 | -12.8904 | -12.9668 | 0.024682 | 2.4466 | 2.4477 | 2.549 | 0.03593 | Quality Control
Caffeine | 47.6386 | -35.0479 | -35.0479 | 0.012867 | 28.355 | -2.8087 | -2.8485 | 0.023824 | 13C Scale Normalization, 15N Quality Control
Chitin | 42.46 | -20.45 | -20.5012 | 0.048012 | 6.19 | -0.92 | -0.90308 | 0.046924 | Linearity Correction, Elemental Totals
Enriched Alanine |  |  |  |  | 15.7223 | 41.1321 | 41.13 | 0.019832 | 15N Scale Normalization
Glutamic Acid (GLAC) | 40.82 | -11.0718 | -11.0718 | 0.025259 | 9.52 | -8.5261 | -8.5261 | 0.013891 | 13C, 15N Scale Normalization
Keratin | 49.3095 | -24.4611 | -24.375 | 0.033278 | 14.9145 | 4.8698 | 4.7768 | 0.073946 | Quality Control
Nylon Powder (NYLOW) | 70.1 | -25.23 | -25.1347 | 0.026111 | 10.61 | -0.72 | -0.85289 | 0.033548 | Drift correction
* Mean and standard deviation excludes references below limit of quantification (LOQ)
Reference | Weight (µg) | Total C (µg) | δ13CVPDB (‰) | Total N (µg) | δ15NAir (‰) | Analysis | Comments
Chitin | 85 | 37.1847 | -20.4854 | 5.4485 | -1.5548 | 527307 | Below LOQ, excluded from calculations
Chitin | 165 | 71.157 | -20.5439 | 10.3547 | -1.0445 | 527143 | Below LOQ, excluded from calculations
Chitin | 167 | 72.2662 | -20.4412 | 10.8355 | -0.85311 | 527004 | Below LOQ, excluded from calculations
Chitin | 317 | 135.9121 | -20.5461 | 19.9643 | -0.95465 | 527121
Chitin | 326 | 137.4341 | -20.4213 | 20.144 | -0.80515 | 527158
Chitin | 461 | 195.1348 | -20.4371 | 28.6165 | -0.88348 | 527207
Chitin | 479 | 202.2391 | -20.5862 | 29.7144 | -0.96943 | 527053
Chitin | 935 | 396.1162 | -20.4922 | 57.8609 | -0.87567 | 527256
Chitin | 951 | 402.0415 | -20.5611 | 58.743 | -0.82947 | 527116
Chitin | 1610 | 676.9341 | -20.5194 | 98.8995 | -0.90097 | 527290
Chitin | 1619 | 684.9846 | -20.5066 | 99.4038 | -0.9319 | 527085
Chitin | 1638 | 701.2526 | -20.4629 | 101.9107 | -0.92328 | 527225
Chitin | 2439 | 1037.0879 | -20.4685 | 150.5973 | -0.94667 | 527192
Chitin | 2453 | 1044.6898 | -20.5041 | 151.3795 | -0.91056 | 527019
Chitin | 4703 | 1996.416 | -20.5307 | 291.6085 | -0.90695 | 527005
Chitin | 4708 | 1998.7268 | -20.4791 | 291.6852 | -0.9019 | 527144
Chitin Average |  |  | -20.5012 |  | -0.90308
Chitin StdDev |  |  | 0.048012 |  | 0.046924
Amaranth Flour |  | 1663.0178 | -12.9648 | 91.1788 | 2.5313 | 527037
Amaranth Flour |  | 1614.4058 | -12.9385 | 90.2612 | 2.5165 | 527100
Amaranth Flour |  | 1576.3727 | -13.0067 | 83.9221 | 2.6066 | 527176
Amaranth Flour |  | 1604.0466 | -12.9622 | 82.2349 | 2.5303 | 527240
Amaranth Flour |  | 1568.666 | -12.9619 | 82.5701 | 2.5603 | 527274
Amaranth Flour Average |  |  | -12.9668 |  | 2.549
Amaranth Flour StdDev |  |  | 0.024682 |  | 0.03593
Caffeine |  | 227.5576 | -35.0539 | 132.6134 | -2.8557 | 527021
Caffeine |  | 226.7466 | -35.0568 | 131.5135 | -2.8265 | 527069
Caffeine |  | 235.5988 | -35.0329 | 136.737 | -2.8565 | 527118
Caffeine |  | 204.3596 | -35.0372 | 118.6479 | -2.8672 | 527160
Caffeine |  | 222.5008 | -35.0695 | 128.916 | -2.8187 | 527209
Caffeine |  | 199.1478 | -35.0449 | 115.1731 | -2.831 | 527258
Caffeine |  | 205.7766 | -35.0398 | 119.5865 | -2.884 | 527292
Caffeine Average |  |  | -35.0479 |  | -2.8485
Caffeine StdDev |  |  | 0.012867 |  | 0.023824
Enriched Alanine |  |  |  | 112.2941 | 41.116 | 527020
Enriched Alanine |  |  |  | 154.5966 | 41.1362 | 527068
Enriched Alanine |  |  |  | 164.0874 | 41.1378 | 527117
Enriched Alanine |  |  |  | 119.0949 | 41.1112 | 527159
Enriched Alanine |  |  |  | 121.9496 | 41.1128 | 527208
Enriched Alanine |  |  |  | 113.4357 | 41.1284 | 527257
Enriched Alanine |  |  |  | 136.8153 | 41.1676 | 527291
Enriched Alanine Average |  |  |  |  | 41.13
Enriched Alanine StdDev |  |  |  |  | 0.019832
Glutamic Acid (GLAC) |  | 471.3553 | -11.081 | 109.7956 | -8.5087 | 527022
Glutamic Acid (GLAC) |  | 484.9289 | -11.0429 | 112.6589 | -8.5488 | 527070
Glutamic Acid (GLAC) |  | 456.9185 | -11.0915 | 106.3741 | -8.5209 | 527119
Glutamic Acid (GLAC) |  | 492.6929 | -11.068 | 114.5586 | -8.5357 | 527161
Glutamic Acid (GLAC) |  | 411.0238 | -11.0566 | 95.6035 | -8.5308 | 527210
Glutamic Acid (GLAC) |  | 452.7691 | -11.1137 | 105.0391 | -8.526 | 527259
Glutamic Acid (GLAC) |  | 490.5206 | -11.049 | 114.5865 | -8.512 | 527293
Glutamic Acid (GLAC) Average |  |  | -11.0718 |  | -8.5261
Glutamic Acid (GLAC) StdDev |  |  | 0.025259 |  | 0.013891
Keratin |  | 255.7646 | -24.3829 | 78.9684 | 4.8009 | 527038
Keratin |  | 311.4685 | -24.3913 | 96.9883 | 4.8592 | 527101
Keratin |  | 301.621 | -24.3823 | 93.5588 | 4.6906 | 527177
Keratin |  | 243.3818 | -24.3171 | 75.14 | 4.7081 | 527241
Keratin |  | 296.9977 | -24.4013 | 91.922 | 4.8253 | 527275
Keratin Average |  |  | -24.375 |  | 4.7768
Keratin StdDev |  |  | 0.033278 |  | 0.073946
Nylon Powder (NYLOW) |  | 686.9932 | -25.1059 | 65.155 | -0.86282 | 527001
Nylon Powder (NYLOW) |  | 681.6443 | -25.1369 | 64.6741 | -0.87311 | 527002
Nylon Powder (NYLOW) |  | 630.9426 | -25.154 | 60.042 | -0.88365 | 527003
Nylon Powder (NYLOW) |  | 534.6606 | -25.1692 | 51.1791 | -0.87715 | 527018
Nylon Powder (NYLOW) |  | 679.0042 | -25.0852 | 64.7128 | -0.857 | 527023
Nylon Powder (NYLOW) |  | 646.1671 | -25.0954 | 61.4626 | -0.84818 | 527036
Nylon Powder (NYLOW) |  | 626.0444 | -25.1787 | 59.3953 | -0.87857 | 527039
Nylon Powder (NYLOW) |  | 504.6314 | -25.1747 | 48.3567 | -0.84897 | 527052
Nylon Powder (NYLOW) |  | 687.7872 | -25.1037 | 65.1716 | -0.88839 | 527054
Nylon Powder (NYLOW) |  | 549.5962 | -25.1093 | 52.42 | -0.92855 | 527067
Nylon Powder (NYLOW) |  | 602.189 | -25.1356 | 57.5712 | -0.8275 | 527071
Nylon Powder (NYLOW) |  | 552.4923 | -25.0968 | 52.7931 | -0.86628 | 527084
Nylon Powder (NYLOW) |  | 567.1298 | -25.0988 | 54.149 | -0.86593 | 527086
Nylon Powder (NYLOW) |  | 599.2076 | -25.1194 | 57.2284 | -0.88347 | 527099
Nylon Powder (NYLOW) |  | 528.1073 | -25.1247 | 50.5136 | -0.8803 | 527115
Nylon Powder (NYLOW) |  | 690.5192 | -25.106 | 66.1942 | -0.84328 | 527120
Nylon Powder (NYLOW) |  | 627.0054 | -25.1326 | 59.6274 | -0.90476 | 527122
Nylon Powder (NYLOW) |  | 640.1726 | -25.123 | 60.9098 | -0.86467 | 527123
Nylon Powder (NYLOW) |  | 661.284 | -25.1271 | 63.1319 | -0.84818 | 527124
Nylon Powder (NYLOW) |  | 526.5983 | -25.1398 | 50.4146 | -0.87859 | 527125
Nylon Powder (NYLOW) |  | 573.3936 | -25.1693 | 54.5112 | -0.83819 | 527140
Nylon Powder (NYLOW) |  | 642.9654 | -25.1885 | 61.0173 | -0.83471 | 527141
Nylon Powder (NYLOW) |  | 682.7087 | -25.162 | 64.939 | -0.86863 | 527142
Nylon Powder (NYLOW) |  | 568.2083 | -25.1236 | 54.2833 | -0.80594 | 527157
Nylon Powder (NYLOW) |  | 677.3365 | -25.1281 | 64.6597 | -0.84619 | 527162
Nylon Powder (NYLOW) |  | 548.598 | -25.1283 | 52.3565 | -0.90305 | 527175
Nylon Powder (NYLOW) |  | 591.3183 | -25.1346 | 56.3637 | -0.84674 | 527178
Nylon Powder (NYLOW) |  | 689.9011 | -25.1516 | 65.8943 | -0.82529 | 527191
Nylon Powder (NYLOW) |  | 545.7168 | -25.1035 | 52.185 | -0.84142 | 527193
Nylon Powder (NYLOW) |  | 642.2779 | -25.1203 | 61.2184 | -0.84007 | 527206
Nylon Powder (NYLOW) |  | 551.9311 | -25.1853 | 52.685 | -0.78076 | 527211
Nylon Powder (NYLOW) |  | 596.5218 | -25.1327 | 56.8944 | -0.86517 | 527224
Nylon Powder (NYLOW) |  | 534.2598 | -25.1577 | 51.033 | -0.89912 | 527226
Nylon Powder (NYLOW) |  | 816.7909 | -25.1337 | 77.7992 | -0.89464 | 527239
Nylon Powder (NYLOW) |  | 559.0241 | -25.1357 | 53.4436 | -0.80082 | 527242
Nylon Powder (NYLOW) |  | 565.0918 | -25.142 | 54.0039 | -0.83144 | 527255
Nylon Powder (NYLOW) |  | 661.9225 | -25.1451 | 63.3915 | -0.76055 | 527260
Nylon Powder (NYLOW) |  | 547.0265 | -25.1581 | 52.3146 | -0.8498 | 527273
Nylon Powder (NYLOW) |  | 629.6619 | -25.1482 | 60.1458 | -0.8278 | 527276
Nylon Powder (NYLOW) |  | 590.2727 | -25.1386 | 56.5704 | -0.84449 | 527289
Nylon Powder (NYLOW) |  | 626.9338 | -25.1452 | 59.7324 | -0.84328 | 527294
Nylon Powder (NYLOW) |  | 790.2722 | -25.0921 | 75.1065 | -0.85752 | 527295
Nylon Powder (NYLOW) |  | 530.6857 | -25.1247 | 50.5202 | -0.80307 | 527296
Nylon Powder (NYLOW) |  | 798.582 | -25.1556 | 76.2015 | -0.89353 | 527297
Nylon Powder (NYLOW) |  | 533.9501 | -25.1455 | 51.1671 | -0.81883 | 527298
Nylon Powder (NYLOW) |  | 607.495 | -25.1442 | 58.0955 | -0.87643 | 527299
Nylon Powder (NYLOW) |  | 531.7104 | -25.1566 | 50.9587 | -0.7885 | 527303
Nylon Powder (NYLOW) |  | 727.976 | -25.0962 | 69.6205 | -0.86762 | 527304
Nylon Powder (NYLOW) |  | 553.1213 | -25.1706 | 52.9431 | -0.85102 | 527305
Nylon Powder (NYLOW) |  | 652.0195 | -25.0985 | 62.3357 | -0.83054 | 527306
Nylon Powder (NYLOW) Average |  |  | -25.1347 |  | -0.85289
Nylon Powder (NYLOW) StdDev |  |  | 0.026111 |  | 0.033548

## Sample List
UC Davis Stable Isotope Facility |  |  |  |  | Institution: | UAF
Sample Submission Form - Solid Sample Analysis |  |  |  |  | Purchase Order#:
Project Name:
Last Name: | Kelly |  |  |  | PPMS Order# | P122788 |  |  |  | LIMS for Light Stable Isotopes
First Name: | Thomas |  |  |  | Data Deadline: |  |  |  |  | Version 8.1
Email: | tbkelly@alaska.edu |  |  |  | Irreplaceable: (y/n) | Y
Counter | Sample ID | Amount (mg) | Tray Name | Well Id | Type of Material | Analysis | Enriched? | Estimated Enrichment | Comment
| max 20 alphanumeric characters - no identical IDs |  | maximum 16 alphanumeric char |  | maximum 20 characters |  |  |  | (SIF Internal Use Only)
Example 1 | Rice 1 | 0.4 | Oxygen1 | A1 | rice in silver | 18O | No
Example 2 | Del 080415 B29 | N/A | Tray1-LastName | G2 | seston on filter | 13C, 15N | Yes | 1 at-%
Example 3 | empty 1 |  |  | H11
1 | KT99-A1 |  | KT99 | A1 | Filtered seawater | 13C, 15N | No
2 | KT99-A2 |  | KT99 | A2 | Filtered seawater | 13C, 15N | No
3 | KT99-A3 |  | KT99 | A3 | Filtered seawater | 13C, 15N | No
4 | KT99-A4 |  | KT99 | A4 | Filtered seawater | 13C, 15N | No
5 | KT99-A5 |  | KT99 | A5 | Filtered seawater | 13C, 15N | No
6 | KT99-A6 |  | KT99 | A6 | Filtered seawater | 13C, 15N | No
7 | KT99-A7 |  | KT99 | A7 | Filtered seawater | 13C, 15N | No
8 | KT99-A8 |  | KT99 | A8 | Filtered seawater | 13C, 15N | No
9 | KT99-B1 |  | KT99 | B1 | Filtered seawater | 13C, 15N | No
10 | KT99-B2 |  | KT99 | B2 | Filtered seawater | 13C, 15N | No
11 | KT99-B3 |  | KT99 | B3 | Filtered seawater | 13C, 15N | No
12 | KT99-B4 |  | KT99 | B4 | Filtered seawater | 13C, 15N | No
13 | KT99-B5 |  | KT99 | B5 | Filtered seawater | 13C, 15N | No
14 | KT99-B6 |  | KT99 | B6 | Filtered seawater | 13C, 15N | No
15 | KT99-B7 |  | KT99 | B7 | Filtered seawater | 13C, 15N | No
16 | KT99-B8 |  | KT99 | B8 | Filtered seawater | 13C, 15N | No
17 | KT99-C1 |  | KT99 | C1 | Filtered seawater | 13C, 15N | No
18 | KT99-C2 |  | KT99 | C2 | Filtered seawater | 13C, 15N | No
19 | KT99-C3 |  | KT99 | C3 | Filtered seawater | 13C, 15N | No
20 | KT99-C4 |  | KT99 | C4 | Filtered seawater | 13C, 15N | No
21 | KT99-C5 |  | KT99 | C5 | Filtered seawater | 13C, 15N | No
22 | KT99-C6 |  | KT99 | C6 | Filtered seawater | 13C, 15N | No
23 | KT99-C7 |  | KT99 | C7 | Filtered seawater | 13C, 15N | No
24 | KT99-C8 |  | KT99 | C8 | Filtered seawater | 13C, 15N | No
25 | KT99-D1 |  | KT99 | D1 | Filtered seawater | 13C, 15N | No
26 | KT99-D2 |  | KT99 | D2 | Filtered seawater | 13C, 15N | No
27 | KT99-D3 |  | KT99 | D3 | Filtered seawater | 13C, 15N | No
28 | KT99-D4 |  | KT99 | D4 | Filtered seawater | 13C, 15N | No
29 | KT99-D5 |  | KT99 | D5 | Filtered seawater | 13C, 15N | No
30 | KT99-D6 |  | KT99 | D6 | Filtered seawater | 13C, 15N | No
31 | KT99-D7 |  | KT99 | D7 | Filtered seawater | 13C, 15N | No
32 | KT99-D8 |  | KT99 | D8 | Filtered seawater | 13C, 15N | No
33 | KT99-E1 |  | KT99 | E1 | Filtered seawater | 13C, 15N | No
34 | KT99-E2 |  | KT99 | E2 | Filtered seawater | 13C, 15N | No
35 | KT99-E3 |  | KT99 | E3 | Filtered seawater | 13C, 15N | No
36 | KT99-E4 |  | KT99 | E4 | Filtered seawater | 13C, 15N | No
37 | KT99-E5 |  | KT99 | E5 | Filtered seawater | 13C, 15N | No
38 | KT99-E6 |  | KT99 | E6 | Filtered seawater | 13C, 15N | No
39 | KT99-E7 |  | KT99 | E7 | Filtered seawater | 13C, 15N | No
40 | KT99-E8 |  | KT99 | E8 | Filtered seawater | 13C, 15N | No
41 | KT99-F1 |  | KT99 | F1 | Filtered seawater | 13C, 15N | No
42 | KT99-F2 |  | KT99 | F2 | Filtered seawater | 13C, 15N | No
43 | KT99-F3 |  | KT99 | F3 | Filtered seawater | 13C, 15N | No
44 | KT99-F4 |  | KT99 | F4 | Filtered seawater | 13C, 15N | No
45 | KT99-F5 |  | KT99 | F5 | Filtered seawater | 13C, 15N | No
46 | KT99-F6 |  | KT99 | F6 | Filtered seawater | 13C, 15N | No
47 | KT99-F7 |  | KT99 | F7 | Filtered seawater | 13C, 15N | No
48 | KT99-F8 |  | KT99 | F8 | Filtered seawater | 13C, 15N | No
49 | NSR2-A1 |  | NSR2 | A1 | Filtered seawater | 13C, 15N | No
50 | NSR2-A2 |  | NSR2 | A2 | Filtered seawater | 13C, 15N | No
51 | NSR2-A3 |  | NSR2 | A3 | Filtered seawater | 13C, 15N | No
52 | NSR2-A4 |  | NSR2 | A4 | Filtered seawater | 13C, 15N | No
53 | NSR2-A5 |  | NSR2 | A5 | Filtered seawater | 13C, 15N | No
54 | NSR2-A6 |  | NSR2 | A6 | Filtered seawater | 13C, 15N | No
55 | NSR2-A7 |  | NSR2 | A7 | Filtered seawater | 13C, 15N | No
56 | NSR2-A8 |  | NSR2 | A8 | Filtered seawater | 13C, 15N | No
57 | NSR2-B1 |  | NSR2 | B1 | Filtered seawater | 13C, 15N | No
58 | NSR2-B2 |  | NSR2 | B2 | Filtered seawater | 13C, 15N | No
59 | NSR2-B3 |  | NSR2 | B3 | Filtered seawater | 13C, 15N | No
60 | NSR2-B4 |  | NSR2 | B4 | Filtered seawater | 13C, 15N | No
61 | NSR2-B5 |  | NSR2 | B5 | Filtered seawater | 13C, 15N | No
62 | NSR2-B6 |  | NSR2 | B6 | Filtered seawater | 13C, 15N | No
63 | NSR2-B7 |  | NSR2 | B7 | Filtered seawater | 13C, 15N | No
64 | NSR2-B8 |  | NSR2 | B8 | Filtered seawater | 13C, 15N | No
65 | NSR2-C1 |  | NSR2 | C1 | Filtered seawater | 13C, 15N | No
66 | NSR2-C2 |  | NSR2 | C2 | Filtered seawater | 13C, 15N | No
67 | NSR2-C3 |  | NSR2 | C3 | Filtered seawater | 13C, 15N | No
68 | NSR2-C4 |  | NSR2 | C4 | Filtered seawater | 13C, 15N | No
69 | NSR2-C5 |  | NSR2 | C5 | Filtered seawater | 13C, 15N | No
70 | NSR2-C6 |  | NSR2 | C6 | Filtered seawater | 13C, 15N | No
71 | NSR2-C7 |  | NSR2 | C7 | Filtered seawater | 13C, 15N | No
72 | NSR2-C8 |  | NSR2 | C8 | Filtered seawater | 13C, 15N | No
73 | NSR2-D1 |  | NSR2 | D1 | Filtered seawater | 13C, 15N | No
74 | NSR2-D2 |  | NSR2 | D2 | Filtered seawater | 13C, 15N | No
75 | NSR2-D3 |  | NSR2 | D3 | Filtered seawater | 13C, 15N | No
76 | NSR2-D4 |  | NSR2 | D4 | Filtered seawater | 13C, 15N | No
77 | NSR2-D5 |  | NSR2 | D5 | Filtered seawater | 13C, 15N | No
78 | NSR2-D6 |  | NSR2 | D6 | Filtered seawater | 13C, 15N | No
79 | NSR2-D7 |  | NSR2 | D7 | Filtered seawater | 13C, 15N | No
80 | NSR2-D8 |  | NSR2 | D8 | Filtered seawater | 13C, 15N | No
81 | NSR2-E1 |  | NSR2 | E1 | Filtered seawater | 13C, 15N | No
82 | NSR2-E2 |  | NSR2 | E2 | Filtered seawater | 13C, 15N | No
83 | NSR2-E3 |  | NSR2 | E3 | Filtered seawater | 13C, 15N | No
84 | NSR2-E4 |  | NSR2 | E4 | Filtered seawater | 13C, 15N | No
85 | NSR2-E5 |  | NSR2 | E5 | Filtered seawater | 13C, 15N | No
86 | NSR2-E6 |  | NSR2 | E6 | Filtered seawater | 13C, 15N | No
87 | NSR2-E7 |  | NSR2 | E7 | Filtered seawater | 13C, 15N | No
88 | NSR2-E8 |  | NSR2 | E8 | Filtered seawater | 13C, 15N | No
89 | NSR2-F1 |  | NSR2 | F1 | Filtered seawater | 13C, 15N | No
90 | NSR2-F2 |  | NSR2 | F2 | Filtered seawater | 13C, 15N | No
91 | NSR2-F3 |  | NSR2 | F3 | Filtered seawater | 13C, 15N | No
92 | NSR2-F4 |  | NSR2 | F4 | Filtered seawater | 13C, 15N | No
93 | NSR2-F5 |  | NSR2 | F5 | Filtered seawater | 13C, 15N | No
94 | NSR2-F6 |  | NSR2 | F6 | Filtered seawater | 13C, 15N | No
95 | NSR2-F7 |  | NSR2 | F7 | Filtered seawater | 13C, 15N | No
96 | NSR2-F8 |  | NSR2 | F8 | Filtered seawater | 13C, 15N | No
97 | KT98-A1 |  | KT98 | A1 | Filtered seawater | 13C, 15N | No
98 | KT98-A2 |  | KT98 | A2 | Filtered seawater | 13C, 15N | No
99 | KT98-A3 |  | KT98 | A3 | Filtered seawater | 13C, 15N | No
100 | KT98-A4 |  | KT98 | A4 | Filtered seawater | 13C, 15N | No
101 | KT98-A5 |  | KT98 | A5 | Filtered seawater | 13C, 15N | No
102 | KT98-A6 |  | KT98 | A6 | Filtered seawater | 13C, 15N | No
103 | KT98-A7 |  | KT98 | A7 | Filtered seawater | 13C, 15N | No
104 | KT98-A8 |  | KT98 | A8 | Filtered seawater | 13C, 15N | No
105 | KT98-B1 |  | KT98 | B1 | Filtered seawater | 13C, 15N | No
106 | KT98-B2 |  | KT98 | B2 | Filtered seawater | 13C, 15N | No
107 | KT98-B3 |  | KT98 | B3 | Filtered seawater | 13C, 15N | No
108 | KT98-B4 |  | KT98 | B4 | Filtered seawater | 13C, 15N | No
109 | KT98-B5 |  | KT98 | B5 | Filtered seawater | 13C, 15N | No
110 | KT98-B6 |  | KT98 | B6 | Filtered seawater | 13C, 15N | No
111 | KT98-B7 |  | KT98 | B7 | Filtered seawater | 13C, 15N | No
112 | KT98-B8 |  | KT98 | B8 | Filtered seawater | 13C, 15N | No
113 | KT98-C1 |  | KT98 | C1 | Filtered seawater | 13C, 15N | No
114 | KT98-C2 |  | KT98 | C2 | Filtered seawater | 13C, 15N | No
115 | KT98-C3 |  | KT98 | C3 | Filtered seawater | 13C, 15N | No
116 | KT98-C4 |  | KT98 | C4 | Filtered seawater | 13C, 15N | No
117 | KT98-C5 |  | KT98 | C5 | Filtered seawater | 13C, 15N | No
118 | KT98-C6 |  | KT98 | C6 | Filtered seawater | 13C, 15N | No
119 | KT98-C7 |  | KT98 | C7 | Filtered seawater | 13C, 15N | No
120 | KT98-C8 |  | KT98 | C8 | Filtered seawater | 13C, 15N | No
121 | KT98-D1 |  | KT98 | D1 | Filtered seawater | 13C, 15N | No
122 | KT98-D2 |  | KT98 | D2 | Filtered seawater | 13C, 15N | No
123 | KT98-D3 |  | KT98 | D3 | Filtered seawater | 13C, 15N | No
124 | KT98-D4 |  | KT98 | D4 | Filtered seawater | 13C, 15N | No
125 | KT98-D5 |  | KT98 | D5 | Filtered seawater | 13C, 15N | No
126 | KT98-D6 |  | KT98 | D6 | Filtered seawater | 13C, 15N | No
127 | KT98-D7 |  | KT98 | D7 | Filtered seawater | 13C, 15N | No
128 | KT98-D8 |  | KT98 | D8 | Filtered seawater | 13C, 15N | No
129 | KT98-E1 |  | KT98 | E1 | Filtered seawater | 13C, 15N | No
130 | KT98-E2 |  | KT98 | E2 | Filtered seawater | 13C, 15N | No
131 | KT98-E3 |  | KT98 | E3 | Filtered seawater | 13C, 15N | No
132 | KT98-E4 |  | KT98 | E4 | Filtered seawater | 13C, 15N | No
133 | KT98-E5 |  | KT98 | E5 | Filtered seawater | 13C, 15N | No
134 | KT98-E6 |  | KT98 | E6 | Filtered seawater | 13C, 15N | No
135 | KT98-E7 |  | KT98 | E7 | Filtered seawater | 13C, 15N | No
136 | KT98-E8 |  | KT98 | E8 | Filtered seawater | 13C, 15N | No
137 | KT98-F1 |  | KT98 | F1 | Filtered seawater | 13C, 15N | No
138 | KT98-F2 |  | KT98 | F2 | Filtered seawater | 13C, 15N | No
139 | KT98-F3 |  | KT98 | F3 | Filtered seawater | 13C, 15N | No
140 | KT98-F4 |  | KT98 | F4 | Filtered seawater | 13C, 15N | No
141 | KT98-F5 |  | KT98 | F5 | Filtered seawater | 13C, 15N | No
142 | KT98-F6 |  | KT98 | F6 | Filtered seawater | 13C, 15N | No
143 | KT98-F7 |  | KT98 | F7 | Filtered seawater | 13C, 15N | No
144 | KT98-F8 |  | KT98 | F8 | Filtered seawater | 13C, 15N | No
145 | JT05-A1 |  | JT05 | A1 | Filtered seawater | 13C, 15N | No
146 | JT05-A2 |  | JT05 | A2 | Filtered seawater | 13C, 15N | No
147 | JT05-A3 |  | JT05 | A3 | Filtered seawater | 13C, 15N | No
148 | JT05-A4 |  | JT05 | A4 | Filtered seawater | 13C, 15N | No
149 | JT05-A5 |  | JT05 | A5 | Filtered seawater | 13C, 15N | No
150 | JT05-A6 |  | JT05 | A6 | Filtered seawater | 13C, 15N | No
151 | JT05-A7 |  | JT05 | A7 | Filtered seawater | 13C, 15N | No
152 | JT05-A8 |  | JT05 | A8 | Filtered seawater | 13C, 15N | No
153 | JT05-B1 |  | JT05 | B1 | Filtered seawater | 13C, 15N | No
154 | JT05-B2 |  | JT05 | B2 | Filtered seawater | 13C, 15N | No
155 | JT05-B3 |  | JT05 | B3 | Filtered seawater | 13C, 15N | No
156 | JT05-B4 |  | JT05 | B4 | Filtered seawater | 13C, 15N | No
157 | JT05-B5 |  | JT05 | B5 | Filtered seawater | 13C, 15N | No
158 | JT05-B6 |  | JT05 | B6 | Filtered seawater | 13C, 15N | No
159 | JT05-B7 |  | JT05 | B7 | Filtered seawater | 13C, 15N | No
160 | JT05-B8 |  | JT05 | B8 | Filtered seawater | 13C, 15N | No
161 | JT05-C1 |  | JT05 | C1 | Filtered seawater | 13C, 15N | No
162 | JT05-C2 |  | JT05 | C2 | Filtered seawater | 13C, 15N | No
163 | JT05-C3 |  | JT05 | C3 | Filtered seawater | 13C, 15N | No
164 | JT05-C4 |  | JT05 | C4 | Filtered seawater | 13C, 15N | No
165 | JT05-C5 |  | JT05 | C5 | Filtered seawater | 13C, 15N | No
166 | JT05-C6 |  | JT05 | C6 | Filtered seawater | 13C, 15N | No
167 | JT05-C7 |  | JT05 | C7 | Filtered seawater | 13C, 15N | No
168 | JT05-C8 |  | JT05 | C8 | Filtered seawater | 13C, 15N | No
169 | JT05-D1 |  | JT05 | D1 | Filtered seawater | 13C, 15N | No
170 | JT05-D2 |  | JT05 | D2 | Filtered seawater | 13C, 15N | No
171 | JT05-D3 |  | JT05 | D3 | Filtered seawater | 13C, 15N | No
172 | JT05-D4 |  | JT05 | D4 | Filtered seawater | 13C, 15N | No
173 | JT05-D5 |  | JT05 | D5 | Filtered seawater | 13C, 15N | No
174 | JT05-D6 |  | JT05 | D6 | Filtered seawater | 13C, 15N | No
175 | JT05-D7 |  | JT05 | D7 | Filtered seawater | 13C, 15N | No
176 | JT05-D8 |  | JT05 | D8 | Filtered seawater | 13C, 15N | No
177 | JT05-E1 |  | JT05 | E1 | Filtered seawater | 13C, 15N | No
178 | JT05-E2 |  | JT05 | E2 | Filtered seawater | 13C, 15N | No
179 | JT05-E3 |  | JT05 | E3 | Filtered seawater | 13C, 15N | No
180 | JT05-E4 |  | JT05 | E4 | Filtered seawater | 13C, 15N | No
181 | JT05-E5 |  | JT05 | E5 | Filtered seawater | 13C, 15N | No
182 | JT05-E6 |  | JT05 | E6 | Filtered seawater | 13C, 15N | No
183 | JT05-E7 |  | JT05 | E7 | Filtered seawater | 13C, 15N | No
184 | JT05-E8 |  | JT05 | E8 | Filtered seawater | 13C, 15N | No
185 | JT05-F1 |  | JT05 | F1 | Filtered seawater | 13C, 15N | No
186 | JT05-F2 |  | JT05 | F2 | Filtered seawater | 13C, 15N | No
187 | JT05-F3 |  | JT05 | F3 | Filtered seawater | 13C, 15N | No
188 | JT05-F4 |  | JT05 | F4 | Filtered seawater | 13C, 15N | No
189 | JT05-F5 |  | JT05 | F5 | Filtered seawater | 13C, 15N | No
190 | JT05-F6 |  | JT05 | F6 | Filtered seawater | 13C, 15N | No
191 | JT05-F7 |  | JT05 | F7 | Filtered seawater | 13C, 15N | No
192 | JT05-F8 |  | JT05 | F8 | Filtered seawater | 13C, 15N | No
193 |  |  |  | A1
194 |  |  |  | A2
195 |  |  |  | A3
196 |  |  |  | A4
197 |  |  |  | A5
198 |  |  |  | A6
199 |  |  |  | A7
200 |  |  |  | A8
201 |  |  |  | A9
202 |  |  |  | A10
203 |  |  |  | A11
204 |  |  |  | A12
205 |  |  |  | B1
206 |  |  |  | B2
207 |  |  |  | B3
208 |  |  |  | B4
209 |  |  |  | B5
210 |  |  |  | B6
211 |  |  |  | B7
212 |  |  |  | B8
213 |  |  |  | B9
214 |  |  |  | B10
215 |  |  |  | B11
216 |  |  |  | B12
217 |  |  |  | C1
218 |  |  |  | C2
219 |  |  |  | C3
220 |  |  |  | C4
221 |  |  |  | C5
222 |  |  |  | C6
223 |  |  |  | C7
224 |  |  |  | C8
225 |  |  |  | C9
226 |  |  |  | C10
227 |  |  |  | C11
228 |  |  |  | C12
229 |  |  |  | D1
230 |  |  |  | D2
231 |  |  |  | D3
232 |  |  |  | D4
233 |  |  |  | D5
234 |  |  |  | D6
235 |  |  |  | D7
236 |  |  |  | D8
237 |  |  |  | D9
238 |  |  |  | D10
239 |  |  |  | D11
240 |  |  |  | D12
241 |  |  |  | E1
242 |  |  |  | E2
243 |  |  |  | E3
244 |  |  |  | E4
245 |  |  |  | E5
246 |  |  |  | E6
247 |  |  |  | E7
248 |  |  |  | E8
249 |  |  |  | E9
250 |  |  |  | E10
251 |  |  |  | E11
252 |  |  |  | E12
253 |  |  |  | F1
254 |  |  |  | F2
255 |  |  |  | F3
256 |  |  |  | F4
257 |  |  |  | F5
258 |  |  |  | F6
259 |  |  |  | F7
260 |  |  |  | F8
261 |  |  |  | F9
262 |  |  |  | F10
263 |  |  |  | F11
264 |  |  |  | F12
265 |  |  |  | G1
266 |  |  |  | G2
267 |  |  |  | G3
268 |  |  |  | G4
269 |  |  |  | G5
270 |  |  |  | G6
271 |  |  |  | G7
272 |  |  |  | G8
273 |  |  |  | G9
274 |  |  |  | G10
275 |  |  |  | G11
276 |  |  |  | G12
277 |  |  |  | H1
278 |  |  |  | H2
279 |  |  |  | H3
280 |  |  |  | H4
281 |  |  |  | H5
282 |  |  |  | H6
283 |  |  |  | H7
284 |  |  |  | H8
285 |  |  |  | H9
286 |  |  |  | H10
287 |  |  |  | H11
288 |  |  |  | H12
289 |  |  |  | A1
290 |  |  |  | A2
291 |  |  |  | A3
292 |  |  |  | A4
293 |  |  |  | A5
294 |  |  |  | A6
295 |  |  |  | A7
296 |  |  |  | A8
297 |  |  |  | A9
298 |  |  |  | A10
299 |  |  |  | A11
300 |  |  |  | A12
301 |  |  |  | B1
302 |  |  |  | B2
303 |  |  |  | B3
304 |  |  |  | B4
305 |  |  |  | B5
306 |  |  |  | B6
307 |  |  |  | B7
308 |  |  |  | B8
309 |  |  |  | B9
310 |  |  |  | B10
311 |  |  |  | B11
312 |  |  |  | B12
313 |  |  |  | C1
314 |  |  |  | C2
315 |  |  |  | C3
316 |  |  |  | C4
317 |  |  |  | C5
318 |  |  |  | C6
319 |  |  |  | C7
320 |  |  |  | C8
321 |  |  |  | C9
322 |  |  |  | C10
323 |  |  |  | C11
324 |  |  |  | C12
325 |  |  |  | D1
326 |  |  |  | D2
327 |  |  |  | D3
328 |  |  |  | D4
329 |  |  |  | D5
330 |  |  |  | D6
331 |  |  |  | D7
332 |  |  |  | D8
333 |  |  |  | D9
334 |  |  |  | D10
335 |  |  |  | D11
336 |  |  |  | D12
337 |  |  |  | E1
338 |  |  |  | E2
339 |  |  |  | E3
340 |  |  |  | E4
341 |  |  |  | E5
342 |  |  |  | E6
343 |  |  |  | E7
344 |  |  |  | E8
345 |  |  |  | E9
346 |  |  |  | E10
347 |  |  |  | E11
348 |  |  |  | E12
349 |  |  |  | F1
350 |  |  |  | F2
351 |  |  |  | F3
352 |  |  |  | F4
353 |  |  |  | F5
354 |  |  |  | F6
355 |  |  |  | F7
356 |  |  |  | F8
357 |  |  |  | F9
358 |  |  |  | F10
359 |  |  |  | F11
360 |  |  |  | F12
361 |  |  |  | G1
362 |  |  |  | G2
363 |  |  |  | G3
364 |  |  |  | G4
365 |  |  |  | G5
366 |  |  |  | G6
367 |  |  |  | G7
368 |  |  |  | G8
369 |  |  |  | G9
370 |  |  |  | G10
371 |  |  |  | G11
372 |  |  |  | G12
373 |  |  |  | H1
374 |  |  |  | H2
375 |  |  |  | H3
376 |  |  |  | H4
377 |  |  |  | H5
378 |  |  |  | H6
379 |  |  |  | H7
380 |  |  |  | H8
381 |  |  |  | H9
382 |  |  |  | H10
383 |  |  |  | H11
384 |  |  |  | H12
385 |  |  |  | A1
386 |  |  |  | A2
387 |  |  |  | A3
388 |  |  |  | A4
389 |  |  |  | A5
390 |  |  |  | A6
391 |  |  |  | A7
392 |  |  |  | A8
393 |  |  |  | A9
394 |  |  |  | A10
395 |  |  |  | A11
396 |  |  |  | A12
397 |  |  |  | B1
398 |  |  |  | B2
399 |  |  |  | B3
400 |  |  |  | B4
401 |  |  |  | B5
402 |  |  |  | B6
403 |  |  |  | B7
404 |  |  |  | B8
405 |  |  |  | B9
406 |  |  |  | B10
407 |  |  |  | B11
408 |  |  |  | B12
409 |  |  |  | C1
410 |  |  |  | C2
411 |  |  |  | C3
412 |  |  |  | C4
413 |  |  |  | C5
414 |  |  |  | C6
415 |  |  |  | C7
416 |  |  |  | C8
417 |  |  |  | C9
418 |  |  |  | C10
419 |  |  |  | C11
420 |  |  |  | C12
421 |  |  |  | D1
422 |  |  |  | D2
423 |  |  |  | D3
424 |  |  |  | D4
425 |  |  |  | D5
426 |  |  |  | D6
427 |  |  |  | D7
428 |  |  |  | D8
429 |  |  |  | D9
430 |  |  |  | D10
431 |  |  |  | D11
432 |  |  |  | D12
433 |  |  |  | E1
434 |  |  |  | E2
435 |  |  |  | E3
436 |  |  |  | E4
437 |  |  |  | E5
438 |  |  |  | E6
439 |  |  |  | E7
440 |  |  |  | E8
441 |  |  |  | E9
442 |  |  |  | E10
443 |  |  |  | E11
444 |  |  |  | E12
445 |  |  |  | F1
446 |  |  |  | F2
447 |  |  |  | F3
448 |  |  |  | F4
449 |  |  |  | F5
450 |  |  |  | F6
451 |  |  |  | F7
452 |  |  |  | F8
453 |  |  |  | F9
454 |  |  |  | F10
455 |  |  |  | F11
456 |  |  |  | F12
457 |  |  |  | G1
458 |  |  |  | G2
459 |  |  |  | G3
460 |  |  |  | G4
461 |  |  |  | G5
462 |  |  |  | G6
463 |  |  |  | G7
464 |  |  |  | G8
465 |  |  |  | G9
466 |  |  |  | G10
467 |  |  |  | G11
468 |  |  |  | G12
469 |  |  |  | H1
470 |  |  |  | H2
471 |  |  |  | H3
472 |  |  |  | H4
473 |  |  |  | H5
474 |  |  |  | H6
475 |  |  |  | H7
476 |  |  |  | H8
477 |  |  |  | H9
478 |  |  |  | H10
479 |  |  |  | H11
480 |  |  |  | H12
481 |  |  |  | A1
482 |  |  |  | A2
483 |  |  |  | A3
484 |  |  |  | A4
485 |  |  |  | A5
486 |  |  |  | A6
487 |  |  |  | A7
488 |  |  |  | A8
489 |  |  |  | A9
490 |  |  |  | A10
491 |  |  |  | A11
492 |  |  |  | A12
493 |  |  |  | B1
494 |  |  |  | B2
495 |  |  |  | B3
496 |  |  |  | B4
497 |  |  |  | B5
498 |  |  |  | B6
499 |  |  |  | B7
500 |  |  |  | B8
501 |  |  |  | B9
502 |  |  |  | B10
503 |  |  |  | B11
504 |  |  |  | B12
505 |  |  |  | C1
506 |  |  |  | C2
507 |  |  |  | C3
508 |  |  |  | C4
509 |  |  |  | C5
510 |  |  |  | C6
511 |  |  |  | C7
512 |  |  |  | C8
513 |  |  |  | C9
514 |  |  |  | C10
515 |  |  |  | C11
516 |  |  |  | C12
517 |  |  |  | D1
518 |  |  |  | D2
519 |  |  |  | D3
520 |  |  |  | D4
521 |  |  |  | D5
522 |  |  |  | D6
523 |  |  |  | D7
524 |  |  |  | D8
525 |  |  |  | D9
526 |  |  |  | D10
527 |  |  |  | D11
528 |  |  |  | D12
529 |  |  |  | E1
530 |  |  |  | E2
531 |  |  |  | E3
532 |  |  |  | E4
533 |  |  |  | E5
534 |  |  |  | E6
535 |  |  |  | E7
536 |  |  |  | E8
537 |  |  |  | E9
538 |  |  |  | E10
539 |  |  |  | E11
540 |  |  |  | E12
541 |  |  |  | F1
542 |  |  |  | F2
543 |  |  |  | F3
544 |  |  |  | F4
545 |  |  |  | F5
546 |  |  |  | F6
547 |  |  |  | F7
548 |  |  |  | F8
549 |  |  |  | F9
550 |  |  |  | F10
551 |  |  |  | F11
552 |  |  |  | F12
553 |  |  |  | G1
554 |  |  |  | G2
555 |  |  |  | G3
556 |  |  |  | G4
557 |  |  |  | G5
558 |  |  |  | G6
559 |  |  |  | G7
560 |  |  |  | G8
561 |  |  |  | G9
562 |  |  |  | G10
563 |  |  |  | G11
564 |  |  |  | G12
565 |  |  |  | H1
566 |  |  |  | H2
567 |  |  |  | H3
568 |  |  |  | H4
569 |  |  |  | H5
570 |  |  |  | H6
571 |  |  |  | H7
572 |  |  |  | H8
573 |  |  |  | H9
574 |  |  |  | H10
575 |  |  |  | H11
576 |  |  |  | H12
577 |  |  |  | A1
578 |  |  |  | A2
579 |  |  |  | A3
580 |  |  |  | A4
581 |  |  |  | A5
582 |  |  |  | A6
583 |  |  |  | A7
584 |  |  |  | A8
585 |  |  |  | A9
586 |  |  |  | A10
587 |  |  |  | A11
588 |  |  |  | A12
589 |  |  |  | B1
590 |  |  |  | B2
591 |  |  |  | B3
592 |  |  |  | B4
593 |  |  |  | B5
594 |  |  |  | B6
595 |  |  |  | B7
596 |  |  |  | B8
597 |  |  |  | B9
598 |  |  |  | B10
599 |  |  |  | B11
600 |  |  |  | B12
601 |  |  |  | C1
602 |  |  |  | C2
603 |  |  |  | C3
604 |  |  |  | C4
605 |  |  |  | C5
606 |  |  |  | C6
607 |  |  |  | C7
608 |  |  |  | C8
609 |  |  |  | C9
610 |  |  |  | C10
611 |  |  |  | C11
612 |  |  |  | C12
613 |  |  |  | D1
614 |  |  |  | D2
615 |  |  |  | D3
616 |  |  |  | D4
617 |  |  |  | D5
618 |  |  |  | D6
619 |  |  |  | D7
620 |  |  |  | D8
621 |  |  |  | D9
622 |  |  |  | D10
623 |  |  |  | D11
624 |  |  |  | D12
625 |  |  |  | E1
626 |  |  |  | E2
627 |  |  |  | E3
628 |  |  |  | E4
629 |  |  |  | E5
630 |  |  |  | E6
631 |  |  |  | E7
632 |  |  |  | E8
633 |  |  |  | E9
634 |  |  |  | E10
635 |  |  |  | E11
636 |  |  |  | E12
637 |  |  |  | F1
638 |  |  |  | F2
639 |  |  |  | F3
640 |  |  |  | F4
641 |  |  |  | F5
642 |  |  |  | F6
643 |  |  |  | F7
644 |  |  |  | F8
645 |  |  |  | F9
646 |  |  |  | F10
647 |  |  |  | F11
648 |  |  |  | F12
649 |  |  |  | G1
650 |  |  |  | G2
651 |  |  |  | G3
652 |  |  |  | G4
653 |  |  |  | G5
654 |  |  |  | G6
655 |  |  |  | G7
656 |  |  |  | G8
657 |  |  |  | G9
658 |  |  |  | G10
659 |  |  |  | G11
660 |  |  |  | G12
661 |  |  |  | H1
662 |  |  |  | H2
663 |  |  |  | H3
664 |  |  |  | H4
665 |  |  |  | H5
666 |  |  |  | H6
667 |  |  |  | H7
668 |  |  |  | H8
669 |  |  |  | H9
670 |  |  |  | H10
671 |  |  |  | H11
672 |  |  |  | H12
673 |  |  |  | A1
674 |  |  |  | A2
675 |  |  |  | A3
676 |  |  |  | A4
677 |  |  |  | A5
678 |  |  |  | A6
679 |  |  |  | A7
680 |  |  |  | A8
681 |  |  |  | A9
682 |  |  |  | A10
683 |  |  |  | A11
684 |  |  |  | A12
685 |  |  |  | B1
686 |  |  |  | B2
687 |  |  |  | B3
688 |  |  |  | B4
689 |  |  |  | B5
690 |  |  |  | B6
691 |  |  |  | B7
692 |  |  |  | B8
693 |  |  |  | B9
694 |  |  |  | B10
695 |  |  |  | B11
696 |  |  |  | B12
697 |  |  |  | C1
698 |  |  |  | C2
699 |  |  |  | C3
700 |  |  |  | C4
701 |  |  |  | C5
702 |  |  |  | C6
703 |  |  |  | C7
704 |  |  |  | C8
705 |  |  |  | C9
706 |  |  |  | C10
707 |  |  |  | C11
708 |  |  |  | C12
709 |  |  |  | D1
710 |  |  |  | D2
711 |  |  |  | D3
712 |  |  |  | D4
713 |  |  |  | D5
714 |  |  |  | D6
715 |  |  |  | D7
716 |  |  |  | D8
717 |  |  |  | D9
718 |  |  |  | D10
719 |  |  |  | D11
720 |  |  |  | D12
721 |  |  |  | E1
722 |  |  |  | E2
723 |  |  |  | E3
724 |  |  |  | E4
725 |  |  |  | E5
726 |  |  |  | E6
727 |  |  |  | E7
728 |  |  |  | E8
729 |  |  |  | E9
730 |  |  |  | E10
731 |  |  |  | E11
732 |  |  |  | E12
733 |  |  |  | F1
734 |  |  |  | F2
735 |  |  |  | F3
736 |  |  |  | F4
737 |  |  |  | F5
738 |  |  |  | F6
739 |  |  |  | F7
740 |  |  |  | F8
741 |  |  |  | F9
742 |  |  |  | F10
743 |  |  |  | F11
744 |  |  |  | F12
745 |  |  |  | G1
746 |  |  |  | G2
747 |  |  |  | G3
748 |  |  |  | G4
749 |  |  |  | G5
750 |  |  |  | G6
751 |  |  |  | G7
752 |  |  |  | G8
753 |  |  |  | G9
754 |  |  |  | G10
755 |  |  |  | G11
756 |  |  |  | G12
757 |  |  |  | H1
758 |  |  |  | H2
759 |  |  |  | H3
760 |  |  |  | H4
761 |  |  |  | H5
762 |  |  |  | H6
763 |  |  |  | H7
764 |  |  |  | H8
765 |  |  |  | H9
766 |  |  |  | H10
767 |  |  |  | H11
768 |  |  |  | H12
769 |  |  |  | A1
770 |  |  |  | A2
771 |  |  |  | A3
772 |  |  |  | A4
773 |  |  |  | A5
774 |  |  |  | A6
775 |  |  |  | A7
776 |  |  |  | A8
777 |  |  |  | A9
778 |  |  |  | A10
779 |  |  |  | A11
780 |  |  |  | A12
781 |  |  |  | B1
782 |  |  |  | B2
783 |  |  |  | B3
784 |  |  |  | B4
785 |  |  |  | B5
786 |  |  |  | B6
787 |  |  |  | B7
788 |  |  |  | B8
789 |  |  |  | B9
790 |  |  |  | B10
791 |  |  |  | B11
792 |  |  |  | B12
793 |  |  |  | C1
794 |  |  |  | C2
795 |  |  |  | C3
796 |  |  |  | C4
797 |  |  |  | C5
798 |  |  |  | C6
799 |  |  |  | C7
800 |  |  |  | C8
801 |  |  |  | C9
802 |  |  |  | C10
803 |  |  |  | C11
804 |  |  |  | C12
805 |  |  |  | D1
806 |  |  |  | D2
807 |  |  |  | D3
808 |  |  |  | D4
809 |  |  |  | D5
810 |  |  |  | D6
811 |  |  |  | D7
812 |  |  |  | D8
813 |  |  |  | D9
814 |  |  |  | D10
815 |  |  |  | D11
816 |  |  |  | D12
817 |  |  |  | E1
818 |  |  |  | E2
819 |  |  |  | E3
820 |  |  |  | E4
821 |  |  |  | E5
822 |  |  |  | E6
823 |  |  |  | E7
824 |  |  |  | E8
825 |  |  |  | E9
826 |  |  |  | E10
827 |  |  |  | E11
828 |  |  |  | E12
829 |  |  |  | F1
830 |  |  |  | F2
831 |  |  |  | F3
832 |  |  |  | F4
833 |  |  |  | F5
834 |  |  |  | F6
835 |  |  |  | F7
836 |  |  |  | F8
837 |  |  |  | F9
838 |  |  |  | F10
839 |  |  |  | F11
840 |  |  |  | F12
841 |  |  |  | G1
842 |  |  |  | G2
843 |  |  |  | G3
844 |  |  |  | G4
845 |  |  |  | G5
846 |  |  |  | G6
847 |  |  |  | G7
848 |  |  |  | G8
849 |  |  |  | G9
850 |  |  |  | G10
851 |  |  |  | G11
852 |  |  |  | G12
853 |  |  |  | H1
854 |  |  |  | H2
855 |  |  |  | H3
856 |  |  |  | H4
857 |  |  |  | H5
858 |  |  |  | H6
859 |  |  |  | H7
860 |  |  |  | H8
861 |  |  |  | H9
862 |  |  |  | H10
863 |  |  |  | H11
864 |  |  |  | H12
865 |  |  |  | A1
866 |  |  |  | A2
867 |  |  |  | A3
868 |  |  |  | A4
869 |  |  |  | A5
870 |  |  |  | A6
871 |  |  |  | A7
872 |  |  |  | A8
873 |  |  |  | A9
874 |  |  |  | A10
875 |  |  |  | A11
876 |  |  |  | A12
877 |  |  |  | B1
878 |  |  |  | B2
879 |  |  |  | B3
880 |  |  |  | B4
881 |  |  |  | B5
882 |  |  |  | B6
883 |  |  |  | B7
884 |  |  |  | B8
885 |  |  |  | B9
886 |  |  |  | B10
887 |  |  |  | B11
888 |  |  |  | B12
889 |  |  |  | C1
890 |  |  |  | C2
891 |  |  |  | C3
892 |  |  |  | C4
893 |  |  |  | C5
894 |  |  |  | C6
895 |  |  |  | C7
896 |  |  |  | C8
897 |  |  |  | C9
898 |  |  |  | C10
899 |  |  |  | C11
900 |  |  |  | C12
901 |  |  |  | D1
902 |  |  |  | D2
903 |  |  |  | D3
904 |  |  |  | D4
905 |  |  |  | D5
906 |  |  |  | D6
907 |  |  |  | D7
908 |  |  |  | D8
909 |  |  |  | D9
910 |  |  |  | D10
911 |  |  |  | D11
912 |  |  |  | D12
913 |  |  |  | E1
914 |  |  |  | E2
915 |  |  |  | E3
916 |  |  |  | E4
917 |  |  |  | E5
918 |  |  |  | E6
919 |  |  |  | E7
920 |  |  |  | E8
921 |  |  |  | E9
922 |  |  |  | E10
923 |  |  |  | E11
924 |  |  |  | E12
925 |  |  |  | F1
926 |  |  |  | F2
927 |  |  |  | F3
928 |  |  |  | F4
929 |  |  |  | F5
930 |  |  |  | F6
931 |  |  |  | F7
932 |  |  |  | F8
933 |  |  |  | F9
934 |  |  |  | F10
935 |  |  |  | F11
936 |  |  |  | F12
937 |  |  |  | G1
938 |  |  |  | G2
939 |  |  |  | G3
940 |  |  |  | G4
941 |  |  |  | G5
942 |  |  |  | G6
943 |  |  |  | G7
944 |  |  |  | G8
945 |  |  |  | G9
946 |  |  |  | G10
947 |  |  |  | G11
948 |  |  |  | G12
949 |  |  |  | H1
950 |  |  |  | H2
951 |  |  |  | H3
952 |  |  |  | H4
953 |  |  |  | H5
954 |  |  |  | H6
955 |  |  |  | H7
956 |  |  |  | H8
957 |  |  |  | H9
958 |  |  |  | H10
959 |  |  |  | H11
960 |  |  |  | H12
961 |  |  |  | A1
962 |  |  |  | A2
963 |  |  |  | A3
964 |  |  |  | A4
965 |  |  |  | A5
966 |  |  |  | A6
967 |  |  |  | A7
968 |  |  |  | A8
969 |  |  |  | A9
970 |  |  |  | A10
971 |  |  |  | A11
972 |  |  |  | A12
973 |  |  |  | B1
974 |  |  |  | B2
975 |  |  |  | B3
976 |  |  |  | B4
977 |  |  |  | B5
978 |  |  |  | B6
979 |  |  |  | B7
980 |  |  |  | B8
981 |  |  |  | B9
982 |  |  |  | B10
983 |  |  |  | B11
984 |  |  |  | B12
985 |  |  |  | C1
986 |  |  |  | C2
987 |  |  |  | C3
988 |  |  |  | C4
989 |  |  |  | C5
990 |  |  |  | C6
991 |  |  |  | C7
992 |  |  |  | C8
993 |  |  |  | C9
994 |  |  |  | C10
995 |  |  |  | C11
996 |  |  |  | C12
997 |  |  |  | D1
998 |  |  |  | D2
999 |  |  |  | D3
1000 |  |  |  | D4
You can add rows as necessary. Column must continue to increment. (delete this row)